## rTMS and tDCS
Study description | [17 empty] | Current Results |  | Results 2014
Year Added to RReADS | Identifier with Hyperlink | Other Study ID Numbers | Study Title | Condition/Pain etiology | Device type (Name) | Stimulation site and parameters | Sponsor | Industry primary sponsor? (Y/N) | Start Date | Primary Completion Date | Status as of 02/2014 | Enrollment (# of Subjects) | Location Countries | Study Phase (per registry) | Design Summary | Comparison Groups | Primary Outcome Measure(s) | Current Results Type | Hyperlink to Current Results | Time Since Study Completion | Results Available | Type of Results | Source of Results | Summary of Results | Publication identification method | Hyperlink to Results Source | Comments
February 2014 | NCT02010281 | P120126, AOM 120141, TRANSNEP study | Long-term Efficacy of Repetitive Transcranial Magnetic Stimulation (rTMS) of the Motor or Prefrontal Cortex in Peripheral Neuropathic Pain: a Multicenter Randomized Placebo Controlled Trial | Neuropathic pain | rTMS (Magventure) | rTMS targeting the motor or prefrontal cortex assisted with neuronavigation | Assistance Publique - Hôpitaux de Paris | N | 2014-01-01 | 2017-11-01 | Active Not Recruiting | 230 | France | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver, Investigator, Outcomes Assessor), Placebo Controlled | 1) rTMS of the motor cortex; 2) rTMS of the prefrontal cortex; 3) Placebo (sham stimulation) of the motor or prefrontal cortex. Stimulation protocol will consist of an induction phasse of 5 daily sessions then a maintenance phase of several sessions: 3 sessions a week apart, 3 sessions a fortnight apart, and 3 sessions 3 weeks apart | Change in average pain intensity from baseline to week 25, measured each visit for up to 25 weeks. Average pain intensity corresponds to average pain over the last 24 hours on the Brief Pain Inventory | N/A |  |  | N/A | N/A
| NCT01608321 | SPLD-001-11F | rTMS for the Treatment of Chronic Pain in GW1 Veterans | Chronic pain, defined for the study as fibromyalgia type pain (>= 4 on the pain severity scale of the BPI-SF at screening) | rTMS | Not provided | Department of Veterans Affairs | N | 2012-09-01 | 2016-09-01 | Recruiting | 206 | United States | Phase 3 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver, Outcomes Assessor), Placebo Controlled | 1) Experimental: 20 sessions of rTMS; 2) Placebo Comparator: 20 sessions of sham rTMS | Brief Pain Inventory - short form (Time frame: 1 month) | N/A |  |  | N/A | N/A
| NCT01964729 | 120343 | Effect of Transcranial Magnetic Stimulation in the Cortical, Subcortical Neuromodulation and in Pain Threshold of Chronic Myofascial Pain Patients | Chronic Myofascial Pain | rTMS | High frequency rTMS at 10 Hz frequency | Hospital de Clinicas de Porto Alegre | N | 2013-08-01 | 2014-02-01 | Recruiting | 24 | Brazil | Phase 2 | Randomized, Efficacy Study, Parallel Assignment, Single Blind (Subject), Placebo Controlled | 1) Experimental: high frequency rTMS at 10 Hz rate was over right M1 in sessions consisting of of 4 seconds of stimulation followed by 26 second intervals, with a total of 1600 pulses per session; 2) Sham comparator: the same TMS equipment coupled with a placebo coil that produces the same active sound produced by the active coil | Pain threshold, at baseline and at the end of intervention period - Assessed by visual analogue scale (VAS), Brazilian Profile of Chronic Pain: Screen (B-PCP:S), the amount of analgesics used weekly throughout the treatment period, Quantitative Sensory Testing (QST) | N/A |  |  | N/A | N/A
| NCT01932905 | RGDCA-02 | Deep rTMS in Central Neuropathic Pain Syndromes | Central pain (Post stroke pain, Spinal cord injury after trauma or demyelinizating diseases) | rTMS | Deep rTMS with double coil (Superior Posterior Insula) or H-coil (AAC) | University of Sao Paulo | N | 2011-03-01 | 2013-12-01 | Recruiting | 90 | Brazil | Not provided | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Placebo Controlled | Daily stimulation for a week, then weekly stimulations for 3 months (total of 17 sessions), in one of 3 conditions: 1) deep rTMS with H-Coil (AAC); 2) deep rTMS with double coil (SPI); 3) sham deep rTMS | Pain - Change from baseline (moment of inclusion) to end of each rTMS session (4X in three months) - Assessed by visual analog scale (VAS) | N/A |  |  | N/A | N/A
| NCT01800136 | 2011.662 | Non-invasive Cortical Stimulation for Pharmacoresistant Neuropathic Pain: rTMS Versus tDCS | Pharmacoresistant Neuropathic Pain | rTMS; tDCS | High frequency rTMS | Hospices Civils de Lyon | N | 2012-06-01 | 2016-06-01 | Recruiting | 40 | France | Phase 4 | Efficacy Study, Single Group Assignment, Open Label | Five sessions of either HF-rTMS or tDCS applied daily during 5 consecutive days | Change from Baseline in Pain at 1 week, 2 weeks, and 3 weeks post-stimulation | N/A |  |  | N/A | N/A
| NCT01992822 | 2013-A01508-37 | Experimental Pain Sensitivity of Subjects With Fibromyalgia Before and After rTMS Treatment in Relation to the Clinical Improvement | Fibromyalgia | rTMS | Not provided | Centre Hospitalier Esquirol | N | 2013-11-01 | 2015-08-01 | Active not recruiting | 72 | France | Not provided | Single Group Assignment, Open Label | Experimental pain induction: application of a pre-fixed pressure (160 kPa) on the forearm | Variation in the Visual Analog Scale (VAS) score after fixed pressure application (160 kPa) between the first rTMS session (T0) and the last rTMS session (T21) in relation to clinical improvement (Time Frame: 21 days). Clinical improvement is defined as: 30% decrease in the general painful state evaluated by VAS between T0 and T21 and response to the Patient's Global Impression of Change ≥ 6 at T21 | N/A |  |  | N/A | N/A
| NCT01872481 | fcv195, ANTARES study | Double Blind, Randomized, Placebo Controlled Clinical Trial to Evaluate the Efficacy of Repetitive Transcranial Magnetic Stimulation in Patients Victims of Landmines With Phantom Limb Pain | Phantom Limb Pain | rTMS: Biphasic pulse stimulator made by Magstim Company Ltd (Whitland, UK) | rTMS using a biphasic pulse stimulator, in series of 20 trains of 6 sec in duration (54-sec intertrain interval) at a stimulation rate of 10 Hz (1200 pulses) at an intensity of 90% rest motor threshold. The stimulation will be directed to the primary motor cortex contralateral to the amputated limb. | Fundación Cardiovascular de Colombia | N | 2013-06-01 | 2013-09-01 | Recruiting | 54 | Colombia | Phase 3 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Placebo Controlled | Sessions will be administered 5 days a week (Monday to Friday) during two consecutive weeks: 1) rTMS in series of 20 trains of 6 s in duration (54-s intertrain interval) at a stimulation rate of 10 Hz (1200 pulses) at an intensity of 90% rest motor threshold; 2) rTMS with "sham" coil | Percentage reduction in the intensity of neuropathic pain - Assessed using a visual analog scale (VAS) four weeks after beginning the treatment | N/A |  |  | N/A | N/A
| NCT01308801 | 2010-A00865-34, STIMALGI study | Benefice Assessment of Repetitive Transcranial Magnetic Stimulation Used as an Additional Procedure to Rehabilitation Exercises in Patients Suffering From Fibromyalgia | Fibromyalgia | rTMS | Not provided | University Hospital, Grenoble | N | 2011-04-01 | 2015-01-01 | Recruiting | 42 | France | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator, Outcomes Assessor), Placebo Controlled | 1) Experimental: active rTMS + rehabilitation exercise; 2) Placebo Comparator: placebo rTMS + rehabilitation exercise | Change from baseline in pain Visual Analog Scale (VAS) at 14 weeks of treatment. Daily average VAS at baseline, week 2, week 4, week 8, week 14 . Each day the patient will record the VAS for the last 24 hours | N/A |  |  | N/A | N/A
| NCT01942538 | 2013-A00820-45 | Study of the Effectiveness of Maintenance rTMS Sessions for 6 Months Versus Placebo in Subjects With Fibromyalgia Responders to 3 Week-rTMS Treatment | Fibromyalgia | rTMS | rTMS treatment follwed by rTMS maintenance sessions. One session: 20 runs of 10 seconds high frequency stimulation (10Hz) and 50 seconds pause - power equivalent to 90% of the motor threshold | Centre Hospitalier Esquirol | N | 2013-09-01 | 2015-02-01 | Recruiting | 78 | France | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator, Outcomes Assessor), Placebo Controlled | Real or sham rTMS treatment: 15 sessions in 3 weeks. If patient presents clinical improvement, real or sham maintenance rTMS sessions at 3 week intervals during 6 months. 1) successful real rTMS treatment followed by real rTMS maintenance sessions; 2) successful real rTMS treatment followed by sham rTMS maintenance sessions; 3) sham rTMS treatment and presenting a clinical improvement, followed by sham rTMS maintenance sessions | Number of fibromyalgia subjects maintaining a clinical improvement with rTMS maintenance sessions during 6 months. Clinical improvement is described as a 30% decrease from baseline in pain feeling (visual analogue scale) and a response ≥ 6 for the Patient's global impression of Change. Effect will be considered as maintained if criteria of clinical improvement present after 3 week rTMS treatment are conserved at 6 months rTMS or sham maintenance sessions. | N/A |  |  | N/A | N/A
| NCT01948947 | F1359-P, H130281 SPiRE rTMS MTBI HA | Improving Functions in MTBI Patients With Headache by rTMS | Traumatic Brain Injury | rTMS | rTMS at the dorsal lateral prefrontal cortex | Department of Veterans Affairs | N | 2013-10-01 | 2015-09-01 | Active not recruiting | 56 | United States | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Placebo Controlled | 1) active rTMS at the dorsal lateral prefrontal cortex; 2) sham rTMS at the dorsal lateral prefrontal cortex | Rating of Headache intensity. Subjects will have a total of 9 visits over the span of 3 months and each visit will qualify as a time point at which outcome is measured. The primary outcome time-point measurement will be taken at one week which will consist of a headache (HA) assessment of the location and rating of the intensity of the HA. | N/A |  |  | N/A | N/A
| NCT00726791 | SMC IRB 2008-02-071 | Efficacy of rTMS (Repetitive Transcranial Magnetic Stimulation) on Patients With Somatoform Pain Disorder | Chronic somatoform pain | rTMS | High frequency rTMS applied to the motor cortex (M1 area). Each session: 30 stimulation trains (10 Hz, 4 sec, 100% motor threshold) with 26 sec inter-train interval, resulting in a total of 1200 pulses per session. | Samsung Medical Center | N | 2008-04-01 | 2008-12-01 | Terminated | 10 | Republic of Korea | Not provided | Efficacy Study, Single Group Assignment, Open Label | High frequency rTMS applied to the motor cortex (M1 area). The treatment protocol consists of 10 sessions of rTMS. At each session, patients receive 30 stimulation trains (10 Hz, 4 sec, 100% motor threshold) with 26 sec inter-train interval, resulting in a total of 1200 pulses per session. | Short form McGill Pain Questionnaire - At baseline, mid-TMS, and after-TMS | N/A |  |  | N/A | N/A
| NCT00524420 | 32656-D, R21AR053963, 1R21AR053963-01, 06-2407-D 01 | Transcranial Magnetic Stimulation (TMS) in the Treatment of Chronic Widespread Pain (CWP) | Fibromyalgia, Chronic Pain, Depression | rTMS (Neuronetics 2100 CRS rTMS System) | 10 Hz rTMS to left dorsolateral prefrontal cortex | University of Washington | N | 2008-02-01 | 2010-12-01 | Completed | 19 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver, Investigator, Outcomes Assessor), Placebo Controlled | One-hour daily treatment sessions will occur over 15 days: 1) active rTMS treatment: 10 Hz, 4-second trains, 26-second intertrain interval, 75 trains/session, 15 sessions at 120% motor threshold rTMS to left dorsolateral prefrontal cortex; 2) sham rTMS treatment | Gracely Box Intensity Rating Scale - Measured once a week at Baseline, at the end of weeks 1, 2, and 3 of TMS treatment, and 1 week post-TMS treatment | Data entered on registry | ClinicalTrials.gov | 3 years | Y | Data entered on registry | ClinicalTrials.gov | Gracely Box Intensity Rating Scale: Active rTMS: Baseline = 14.43 ± 2.23; 1 Week Post TMS = 10.50 ± 5.96. Sham rTMS: Baseline = 13.18 ± 2.79; 1 Week Post TMS = 8.60 ± 5.56. Results also available for other timepoints and outcome measures. |  | ClinicalTrials.gov
| NCT01275573 | 09 155 02 | High Frequency rTMS (Repetitive Transcranial Magnetic Stimulation) Effect Applied on Primary Cortical Motor, on Nociceptive Perception Thresholds in Parkinson's Disease Patients: a Physiopathology Study | Parkinson's Disease | rTMS | rTMS applied on the contralateral primary cortical motor on the painful side for the Parkinson's disease patients and on the left primary cortical motor for the healthy volunteer. The stimulation frequency will be 20 Hz during 26 min with an intensity stimulation equal of 95% of the motor threshold. | University Hospital, Toulouse | N | 2010-10-01 | 2012-06-01 | Completed | 30 | France | Phase 2 | Randomized, Efficacy Study, Crossover Assignment, Double Blind (Subject, Caregiver, Investigator, Outcomes Assessor), Placebo Controlled | All patients and healthy volunteers will receive high frequency rTMS and placebo stimulation. Three subject groups: 1) healthy volunteers; 2) painful Parkinson's disease patients; 3) painless Parkinson's disease patients | Subjective pain threshold determined using thermal stimulation (Thermotest) with the method of levels - Change from baseline after each rTMS session (active and placebo) | No results |  | 1 year | N | No results
| NCT01746355 | RG-01, EMTr-AFP study | Assessment and Treatment Patients With Atypical Facial Pain Through Repetitive Transcranial Magnetic Stimulation | Atypical Facial Pain or Atypical Odontalgia | rTMS | Not provided | University of Sao Paulo | N | 2011-03-01 | 2012-12-01 | Active not recruiting | 40 | Brazil | Not provided | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Placebo Controlled | 5 sessions of either: 1) active rTMS; 2) sham rTMS | Verbal analog scale (VAS) for pain - Change from baseline (moment of inclusion) to end of each rTMS session (4 times in three months) | No results |  | 1 year | N | No results
| NCT01643798 | 1F30DA033748-01 | Role of the Supraspinal Opioidergic Circuit in Prefrontal TMS-Induced Analgesia | Pain | rTMS | Not provided | Medical University of South Carolina | N | 2011-01-01 | 2012-05-01 | Completed | 15 | United States | Not provided | Randomized, Crossover Assignment, Double Blind (Subject, Investigator, Outcomes Assessor), Placebo Controlled | Saline or naloxone pretreatment, followed by sham or real rTMS | Change in pain rating and change in blood oxygen level-dependent (BOLD) signal in pain processing regions during pain, including supraspinal opioidergic structures - Measured every 30 minutes | Peer-reviewed journal article | Pubmed abstract | 1 year | Y | Peer-reviewed journal article | Taylor JJ et al, 2013. Naloxone-reversible modulation of pain circuitry by left prefrontal rTMS. | "Consistent with previous findings, real rTMS significantly reduced hot allodynia pain ratings. This analgesia was associated with elevated blood oxygenation-level dependent (BOLD) signal in BAs 9 and 10, and diminished BOLD signal in the anterior cingulate, thalamus, midbrain, and medulla during pain. Naloxone pretreatment largely abolished rTMS-induced analgesia, as well as rTMS-induced attenuation of BOLD signal response to painful stimuli throughout pain processing regions, including midbrain and medulla. These preliminary results suggest that left DLPFC rTMS drives top-down opioidergic analgesia." | Found by manual search | Pubmed abstract
| NCT00374673 | TMS-chronic pain 1 | Efficacy of Repetitive Transcranial Magnetic Stimulation in the Treatment of Chronic Idiopathic Pain Syndromes : a Double Blind Sham Controlled Study | Fibromyalgia, Irritable Bowel Syndrome, Burning Mouth Syndrome | rTMS | rTMS stimulation of the motor cortex (10 Hz) | Hôpital Ambroise Paré | N | 2006-10-01 | 2012-03-01 | Completed | 60 | France | Phase 3 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver, Investigator, Outcomes Assessor), Sham Controlled | Stimulation of the motor cortex (10 Hz) every day during 5 days, then every week for 3 weeks, then every two weeks for 2 months, then every month for 3 additional months, with either: 1) active rTMS; 2) sham rTMS | Average pain over the last 24 hours at each visit before the stimulation session. Assessed using Brief Pain inventory. Pain diary at baseline to see the stability of the measures. | No results |  | 1 year | N | No results
| NCT00924495 | KUH5960429 | Regulatory Central Mechanisms in Chronic Nonspecific Low Back Pain With Lumbar Dysfunction | Chronic Nonspecific Low Back Pain | rTMS | 30 min rTMS therapy | Kuopio University Hospital | N | 2009-06-01 | 2012-09-01 | Completed | 80 | Finland | Not provided | Randomized, Parallel Assignment, Single Blind (Subject) | rTMS therapy daily for two weeks, five times per week each lasting for half an hour: 1) Active Comparator: Cortical function, Activity/inhibition of the cortex; 2) Active Comparator: Cortical regulation | Correlation between cortical activity and other motor control tests. Secondary outcome measure: effect of rTMS-therapy for clinical outcome and motor control tests (at day 19, 1 month, 2 months, 1 year) | No results |  | 1 year | N | No results
| NCT01229852 | NS-CFS-FM-1 | Treatment of Fibromyalgia Using Deep Shaped-Field (DSF) Transcranial Magnetic Stimulation (TMS): A Clinical Feasibility Study | Fibromyalgia | rTMS | Deep Shaped-Field (DSF) rTMS | Cervel Neurotech, Inc. | Y | 2010-08-01 | 2011-09-01 | Completed | 42 | United States | Not provided | Safety/Efficacy Study, Single Group Assignment, Open Label | Active DSF-rTMS, 20 day treatment | Change from Baseline on the Brief Pain Inventory (BPI) - Assessed daily during 20 day treatment | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Tzabazis A et al, 2013. Shaped magnetic field pulses by multi-coil repetitive transcranial magnetic stimulation (rTMS) differentially modulate anterior cingulate cortex responses and pain in volunteers and fibromyalgia patients. | "A single 30 minute session using one of 3 tested rTMS coil configurations operated at 1 Hz consistently produced robust reduction (mean 70% on NRS scale) in evoked pain in volunteers. In fibromyalgia patients, the 20 rTMS sessions also produced a significant pain inhibition (43% reduction in NRS pain over last 24 hours), but only when operated at 10 Hz. This degree of pain control was maintained for at least 4 weeks after the final session." | Found by manual search | Pubmed abstract
| NCT01501045 | TMS-001 | The Effect of Transmagnetic Stimulation on Descending Pain Modulation | Headache, Migraine | TMS system: MagPro x100 (Tonica Elektronik A/S, Denmark) | Not provided | Rambam Health Care Campus | N | 2011-12-01 | 2013-08-01 | Unknown | 200 | Israel | Not provided | Non-Randomized, Parallel Assignment, Single Blind (Subject) | rTMS: 1) healthy subjects; 2) pain patients | Pain scores as measured by pain numerical scale (NPS) and Amplitude of pain-evoked potentials - Assessed before and after TMS | No results |  | <1 year | N | No results
| NCT00324428 | 2005P-000311, R03DK071851 | The Effect of a 10-day Course of Transcranial Magnetic Stimulation on Abdominal Pain in Patients With Locally Advanced and Advanced Pancreatic Cancer, a Randomized Phase II Study | Pain, Visceral Pain, Pancreatic Cancer | rTMS | 1Hz rTMS applied to secondary somatosensory area (SSI) | Beth Israel Deaconess Medical Center | N | 2006-05-01 | 2008-02-01 | Unknown | 32 | United States | Phase 2 | Non-Randomized, Safety/Efficacy Study, Crossover Assignment, Open Label | 1 Hz rTMS applied to SII (26 minutes) for ten days during two consecutive weeks | Pain - Visual Analogue Scale (VAS), Clinical Global Impression scale (CGI), Patient Global Health Assessment (PGA). Medication use (medication diary). Difference in pain score level on the VAS at Day 11 and at Day 28 compared to the week before rTMS. | No results |  | 5 years | N | No results
| NCT01030133 | Borckardt_19079 | Effects of TMS and Stimulus Controllability on Pain Perception | Pain | rTMS | Prefrontal rTMS | Medical University of South Carolina | N | 2009-10-01 | 2010-01-01 | Unknown | 100 | United States | Not provided | Randomized, Factorial Assignment, Single Blind (Subject) | 1) real rTMS; 2) sham rTMS | Pain ratings at 2 hours | Peer-reviewed journal article | Pubmed abstract | 4 years | Y | Peer-reviewed journal article | Borckardt JJ et al, 2011. Fast left prefrontal rTMS acutely suppresses analgesic effects of perceived controllability on the emotional component of pain experience. | "Real TMS, compared with sham, suppressed the analgesic benefits of perceived control on the emotional dimension of pain, but not the sensory/discriminatory dimension. […] Despite evidence that prefrontal TMS can have analgesic effects, fast left prefrontal TMS appears to acutely suppress analgesia associated with perceived-control. This effect may be limited to the emotional dimension of pain experience." | Found by manual search | Pubmed abstract
| NCT01801605 | 2007/053/HP, 2007-A00799-44 | Does Repetitive Transcranial Magnetic Stimulation (rTMS) Reduce Rectal Hypersensitivity in Patients With IBS? | Irritable Bowel Syndrome | rTMS | rTMS applied to the cortical area of the abdominal muscles | University Hospital, Rouen | N | 2008-08-01 | 2013-01-01 | Completed | 20 | France | Phase 2 | Randomized, Crossover Assignment, Double Blind (Subject, Caregiver), Placebo Controlled | rTMS applied to the cortical area of the abdominal muscles during 5 consecutive days: 1) active rTMS; 2) sham rTMS | Pain or discomfort threshold volumes. Secondary outcome measures: Amplitude of R3 reflex, Visual analog scale, Symptoms diary, Quality of life scores | Peer-reviewed journal article | Pubmed abstract | 1 year | Y | Peer-reviewed journal article | Melchior C et al, 2013. Effect of transcranial magnetic stimulation on rectal sensitivity in irritable bowel syndrome: a randomised, placebo-controlled pilot study. | "There were no statistically significant differences between active and sham rTMS in terms of an increase in the pressure pain threshold, maximum tolerated volume, and rectal compliance at the end of the treatments compared to baseline. However, in the subgroup of patients with the most marked rectal hypersensitivity, the volume threshold was significantly improved by active but not by sham rTMS (p=0.03). Patients experienced a significant improvement in pain regardless of the type of stimulation." | Found by manual search | Pubmed abstract
| NCT00697398 | 2008-A00084-51, 2008-01 | Repetitive Trans-cranial Magnetic Stimulation of the Motor Cortex in Fibromyalgia: A Prospective Randomized Blinded Placebo-controlled Study Evaluating the Clinical Efficiency and the Metabolic Correlate in 18FDG-PET | Fibromyalgia | rTMS | rTMS of the motor cortex | Assistance Publique Hopitaux De Marseille | N | 2008-10-01 | 2011-04-01 | Unknown | 40 | France | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Placebo Controlled | 1) active rTMS; 2) sham rTMS | Analgesic efficiency - Time frame: 36 months | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Boyer L et al, 2014. rTMS in fibromyalgia: A randomized trial evaluating QoL and its brain metabolic substrate. | "At week 11, patients of the active rTMS group had greater QoL improvement in the FIQ (p = 0.032) and in the mental component of the SF-36 (p = 0.019) than the sham stimulation group. No significant impact was found for other clinical outcomes. Compared with the sham stimulation group, patients of the active rTMS group presented an increase in right medial temporal metabolism between baseline and week 11 (p < 0.001), which was correlated with FIQ and mental component SF-36 concomitant changes (r = -0.38, p = 0.043; r = 0.51, p = 0.009, respectively). QoL improvement involved mainly affective, emotional, and social dimensions." | Found by manual search | Pubmed abstract
| NCT01496950 | IIEP394-07, TMS-CHROMIG study | Double-blind Randomized Clinical Trial to Evaluate Safety and Efficacy of Repetitive Transcranial Magnetic Stimulation in the Preventive Treatment of Chronic Migraine | Chronic Migraine | rTMS | 10Hz rTMS delivered to the left dorsolateral prefrontal cortex | Hospital Israelita Albert Einstein | N | 2008-10-01 | 2011-12-01 | Unknown | 20 | Brazil | Phase 1 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Placebo Controlled | 23 sessions of treatment (15 sessions in the first month and 8 sessions in the second month of treatment) of either: 1) 10 Hz active rTMS delivered to the left dorsolateral prefrontal cortex; 2) 10 Hz placebo rTMS delivered to the vertex | Number of days with pain per month - After each treatment session (total of 23 sessions within 60 days) | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Conforto AB et al, 2013. Randomized, proof-of-principle clinical trial of active transcranial magnetic stimulation in chronic migraine. | "rTMS-DLPFC applied over eight weeks was feasible and safe in patients with chronic migraine. Contrary to our primary hypothesis, the number of headache days decreased significantly more in the sham group than in the group treated with active rTMS-DLPFC at eight weeks. Average decrease in headache days was >50% in the sham group, indicating a powerful placebo response. Pain intensity improved in both groups to a similar extent." | Found by manual search | Pubmed abstract
| NCT00250484 | DK71851, R03DK071851 | The Effect of 10-Day Treatment of Repetitive Transcranial Magnetic Stimulation on Abdominal Pain in Patients With Chronic Pancreatitis | Abdominal pain associated with chronic pancreatitis | rTMS | 1Hz rTMS for 26 minutes applied to the secondary somatosensory area | Beth Israel Deaconess Medical Center | N | 2005-05-01 | 2007-09-01 | Unknown | 32 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Caregiver) | Not provided | Pain - Visual Analogue Scale (VAS), Clinical Global Impression scale (CGI), Patient Global Health Assessment (PGA). Medication use (medication diary). | No results |  | 6 years | N | No results
| NCT00130052 | 2004P-000352 | The Effect of 10-day Treatment of Repetitive Transcranial Magnetic Stimulation on Abdominal Pain in Patients With Chronic Pancreatitis or Functional Gastrointestinal Disorders | Abdominal pain associated with chronic pancreatitis or functional gastrointestinal disorders | rTMS | rTMS applied to the secondary somatosensory area | Beth Israel Deaconess Medical Center | N | 2004-11-01 | Not provided | Unknown | 32 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind | Not provided | Pain (Visual Analog Scale), Medication use (medication diary) | Peer-reviewed journal article | Pubmed abstract | ? | Y | Peer-reviewed journal article | Fregni F et al, 2011. Clinical effects and brain metabolic correlates in non-invasive cortical neuromodulation for visceral pain. | "Our results show a significant reduction in pain after real rTMS that lasted for at least 3 weeks following treatment. […] Conclusions: Our results support preliminary findings showing that modulation of right SII with rTMS is associated with a significant analgesic effect and that this effect is correlated with an increase in excitatory neurotransmitter levels such as glutamate and NAA." | Found by manual search | Pubmed abstract
| NCT00523302 | HR#17365, SPID 0793 | A Pilot Study of TMS Effects on Pain and Depression in Patients With Fibromyalgia | Major Depression, Fibromyalgia | rTMS (Neotonus model 2100 xxx) | 20 minute rTMS sessions | Medical University of South Carolina | N | 2007-07-01 | Not provided | Completed | 20 | United States | Not provided | Randomized, Efficacy Study, Single Group Assignment, Double Blind (Subject, Investigator), Sham Controlled | 20 minute sessions, 5 times/wk for 2 weeks: 1) active rTMS; 2) sham rTMS | The Brief Pain Inventory, The McGill Pain Questionnaire, Fibromyalgia Impact Questionnaire, Fibromyalgia Health Assesment Questionnaire | Peer-reviewed journal article | Pubmed abstract | ? | Y | Peer-reviewed journal article | Short EB et al, 2011. Ten sessions of adjunctive left prefrontal rTMS significantly reduces fibromyalgia pain: a randomized, controlled pilot study. | "No statistically significant differences between groups were observed. Patients who received active TMS had a mean 29% (statistically significant) reduction in pain symptoms in comparison to their baseline pain. Sham TMS participants had a 4% nonsignificant change in daily pain from their baseline pain. At 2 weeks after treatment, there was a significant improvement in depression symptoms in the active group compared to baseline. Pain reduction preceded antidepressant effects." | Linked to registry | Pubmed abstract | Publication automatically indexed to this study by ClinicalTrials.gov Identifier (NCT Number)
| NCT02030626 | rTMS versus tDCS, 2010-018309-12 | Comparison of the Efficacy of Repetitive Transcranial Magnetic Stimulation and Transcranial Direct Current Stimulation of the Motor Cortex in Patients With Neuropathic Pain Due to Chronic Radiculopathy | Lumbar Radiculopathy | rTMS; tDCS | rTMS: 10 Hz stimulation of the motor cortex tDCS: 2 mA stimulation of the motor cortex | Hôpital Ambroise Paré | N | 2013-01-01 | 2014-02-01 | Recruiting | 40 | France | Phase 4 | Randomized, Efficacy Study, Crossover Assignment, Double Blind (Subject, Caregiver, Investigator, Outcomes Assessor), Sham Controlled | 1) Active rTMS (10 Hz) or tDCS (2 mA) during 3 consecutive days followed by the alternative treatment within 3 weeks apart; 2) sham rTMS or tDCS during 3 consecutive days followed by the alternative treatment within 3 weeks apart | Comparison of rTMS and tDCS on average pain intensity numerical scale (0-10) - Measured before each treatment, then 1 hour after the end of the third day session, then 2 days and 1 week after the stimulation | N/A |  |  | N/A | N/A
| CTRI/2013/12/004228 |  | Effect of Transcranial Magnetic Stimulation on Pain Modulation Status in Fibromyalgia Patients | Fibromyalgia | rTMS | rTMS (1 Hz) for 30 min/day | All India Institute of Medical Sciences New Delhi | N | 2013-09-01 | 2017-09-01 | Recruiting | 90 | India | Not provided | Randomized, Parallel Assignment, Single Blind (Participant), Placebo Controlled | 1) 1. Sucrose challenge test: Sucrose 25 gm/100 mL PO pre and post rTMS (4 weeks); 2. Non invasive rTMS (1 Hz) for 30 min/day for five consecutive days/week for 4 weeks; 2) Comparator: Healthy subjects; Fibromyalgia subjects: Normal healthy female subjects and Fibromyalgia subjects with age group between 18-50 years | 1) Oral sucrose challenge test (25 gm/100 mL), pre and post rTMS at 5 weeks. 2) Determination of pain threshold and latency, pre and post rTMS at 5 weeks. | N/A |  |  | N/A | N/A
| ACTRN12613000561785 |  | Repetitive transcranial magnetic stimulation in the treatment of fibromyalgia | Fibromyalgia, Chronic Pain, Mental Health (Depression) | rTMS (Magventure Magpro30) | Each treatment consists of 75 trains of 4 second duration with a frequency of 10 Hz and an interval of 26 seconds between each train. Stimulation intensity will be set at 120% RMT and will applied to the dorsolateral prefrontal cortex. | Individual (Dr Bernadette Fitzgibbon) | N | 2013-08-01 | Not provided | Active not recruiting | 40 | Australia | Not provided | Randomized, Double Blind, Placebo Controlled | 1) Active rTMS: Participants will undergo a total of 20 treatments, daily (mon-fri) for 4 weeks. In each treatment, participants will receive 75 trains of 4 second duration with a frequency of 10 Hz and an interval of 26 seconds between each train. Stimulation intensity will be set at 120% RMT and will applied to the dorsolateral prefrontal cortex. 2) sham rTMS: identical treatment regimen to the active group except no stimulation will be applied | 1) Change in quality of life as measured by the Short-form 36 Health Survey and the Fibromyalgia impact questionnaire, assessed at the end of treatment course (week 4). 2) Change in severity and impact of pain as measured by the Short-form McGill Pain Questionnaire and the Brief Pain Inventory, assessed at the end of treatment course (week 4) | No results |  | ? | N | No results
| JPRN-UMIN000010536 |  | Repetitive transcranial magnetic stimulation (rTMS) of primary motor cortex for intractable neuropathic pain: determination of the effect between 8 shaped coil and H-coil by consecutive rTMS and analysis of the mechanism | Intractable neuropathic pain | rTMS | rTMS of H-coil and 8 shaped coil | Osaka University, Department of Neuromodulation and Neurosurgery, Office for University-Industry Collaboration | N | 2013-04-01 | Not provided | Recruiting | 20 | Japan | Not provided | Randomized, Efficacy Study, Crossover Assignment, Single Blind (Participants), Placebo Controlled | 1) rTMS of H-coil; 2) rTMS of 8 shaped coil; 3) sham rTMS | Short form of McGill pain questionnaire 2 (SF-MPQ 2) | N/A |  |  | N/A | N/A
| CTRI/2012/02/002438 |  | Comparison of Lamotrigine and Pregabalin in the Treatment of central post-stroke pain, a randomized control study and treatment of refractory cases randomly by repetitive transcranial magnetic stimulation (rTMS) and placebo | Post-stroke pain | rTMS (Magstim Rapid) | rTMS applied to corresponding cortex | Sanjay Gandhi Postgraduate Institute of Medical Sciences (SGPGIMS) | N | 2011-02-01 | 2013-02-01 | Recruiting | 50 | India | Phase 4 | Randomized, Efficacy Study, Crossover Assignment, Open Label, Placebo Controlled | 1) Lamotrigine 25 mg 1BD for 2 wks, then 50 mg 1BD for 2 wks, then 100 mg 1BD for 8 wks; 2) Pregabalin 75 mg 1BD for 2 wks, then 150 mg 1BD for 2 wks, then 300 mg 8 BD In refractory patients: 1) active rTMS; 2) sham rTMS | 1) Efficacy of Lamotrigine and Pregabalin in the treatment of central post-stroke pain using VAS scale; 2) Efficacy of rTMS will be evaluated in the refractory patients - Timepoint: Completion of 12 weeks in each arm | N/A |  |  | N/A | N/A
| JPRN-UMIN000003048 |  | Multicenter study of repetitive transcranial magnetic stimulation (rTMS) of primary motor cortex for intractable neuropathic pain: determination of the effect by consecutive rTMS and analysis of the mechanism | Intractable neuropathic pain | rTMS | rTMS of primary motor cortex | Department of Neuromodulation and Neurosurgery, Osaka University | N | 2009-08-01 | 2012-01-01 | Completed | 70 | Japan | Not provided | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind, Placebo Controlled | 1) active rTMS; 2) sham rTMS | Visual analogue scale | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Hosomi K et al, 2013. Daily repetitive transcranial magnetic stimulation of primary motor cortex for neuropathic pain: a randomized, multicenter, double-blind, crossover, sham-controlled trial. | "The real rTMS, compared with the sham, showed significant short-term improvements in VAS and SF-MPQ scores without a carry-over effect. PGIC scores were significantly better in real rTMS compared with sham during the period with daily rTMS. There were no significant cumulative improvements in VAS, SF-MPQ, and BDI. No serious adverse events were observed. Our findings demonstrate that daily high-frequency rTMS of M1 is tolerable and transiently provides modest pain relief in NP patients." | Found by manual search | Pubmed abstract
| NCT00349050 | K23NS050485-01A2 | Transcranial Magnetic Stimulation (TMS) Effects on Pain Perception | Pain, trigeminal neuralgia, neuropathic pain | rTMS | 20-minute TMS treatment sessions | Medical University of South Carolina | N | 2006-07-01 | 2010-10-01 | Terminated | 0 | United States | Phase 2,3 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Investigator), Sham Controlled | Two, 20-minute TMS treatment sessions/day for 5 days: 1) active TMS; 2) sham TMS | Clinical neuropathic pain ratings, activity levels, analgesic medication usage, mood ratings, laboratory pain measures (thermal and mechanical pain thresholds, suprathreshold pain ratings, and wind-up pain ratings) | N/A |  |  | N/A | N/A
| NCT01861574 | HR 15330 | TMS Effects on Pain Perception | Gastric Bypass Surgery Pain Management | rTMS | 20 min TMS sessions | Medical University of South Carolina | N | 2005-02-01 | 2011-06-01 | Completed | 123 | United States | Phase 0 | Randomized, Parallel Assignment, Single Blind (Subject), Placebo Controlled | 2 (20 min) sessions of TMS: one following surgery and one within 24 hours: 1) active TMS; 2) sham TMS | Morphine equivalents - Participants will be followed for the duration of hospital stay, an expected average of 72 hours | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Borckardt JJ et al, 2014. Fast Left Prefrontal rTMS Reduces Post-Gastric Bypass Surgery Pain: Findings From a Large-Scale, Double-Blind, Sham-Controlled Clinical Trial. | "Unlike previous rTMS trials for post-operative pain, no differences emerged between groups with respect to total patient-controlled analgesia usage (IV hydromorphone). However, despite no difference in IV analgesic usage, subjects that received 2 real rTMS sessions rated both the affective and sensory dimensions of their pain significantly lower than those in the sham–sham group at several time points during the post-surgical/post-rTMS period." | Found by manual search | Pubmed abstract
| NCT01926119 | 25894 | TMS for CRPS - Pilot Study | Complex Regional Pain Syndrome | rTMS | TMS: theta burst stimulation and high frequency stimulation | Stanford University | N | 2013-07-01 | 2013-12-01 | Recruiting | 4 | United States | Not provided | Randomized, Parallel Assignment, Open Label | 1) TMS: Theta Burst Stimulation (TBS) followed by high frequency stimulation, once per day for 5 days; 2) TMS: high frequency stimulation followed by TBS, once per day for 5 days | Change in pain compared to baseline - Measured at the end of each of the 5 treatment sessions and at 1 week follow-up | N/A |  |  | N/A | N/A
| NCT00449540 | NL-2006-001 | Phase III Randomized Double-Blind Parallel Group Sham-Controlled Study Evaluating the Efficacy and Safety of Non-invasive Non-repetitive Transcranial Magnetic Stimulation (TMS) for the Acute Preemptive Treatment of the Aura Phase of Migraine Headache | Migraine With Aura | rTMS | Two TMS treatments at an intensity of <1 Tesla for ~500 microseconds, approximately 30 seconds apart | Neuralieve | Y | 2006-08-01 | 2008-01-01 | Completed | 201 | United States | Phase 3 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | Participants in each group were instructed to treat with the device within one hour of onset of migraine aura, for three migraine auras treated or three months, whichever comes first: 1) active TMS; or 2) sham TMS | Percentage of Participants Experiencing no Pain at Two Hours Post-treatment. For each treated aura episode during the migraine treatment phase, the subjects rated the pain intensity of their headache as none, mild, moderate or severe at baseline (before application of the study device) at 30 minutes, and at 1, 2, 24, and 48 hours post-treatement. | Peer-reviewed journal article | Pubmed abstract | 6 years | Y | Peer-reviewed journal article | Lipton RB et al, 2010. Single-pulse transcranial magnetic stimulation for acute treatment of migraine with aura: a randomised, double-blind, parallel-group, sham-controlled trial. | "Pain-free response rates after 2 h were significantly higher with sTMS (32/82 [39%]) than with sham stimulation (18/82 [22%]), for a therapeutic gain of 17% (95% CI 3-31%; p=0.0179). Sustained pain-free response rates significantly favoured sTMS at 24 h and 48 h post-treatment. [...] Interpretation: Early treatment of migraine with aura by sTMS resulted in increased freedom from pain at 2 h compared with sham stimulation, and absence of pain was sustained 24 h and 48 h after treatment. sTMS could be a promising acute treatment for some patients with migraine with aura." | Linked to registry | Pubmed abstract | Publicatios automatically indexed to this study. Results also available on CTG.
| NTR1093 | microTMS001, microTMS-PAIN | Low field TMS as pain treatment as measured with quantitative sensory testing | Neuropathic pain | rTMS | Not provided | University of Groningen | N | 2007-11-01 | 2008-11-01 | Recruiting | 100 | Netherlands | Not provided | Randomized, Crossover Assignment, Triple Blind, Placebo Controlled | Not provided | Neuropathic pain model in healthy volunteers and neuropathic pain in patients: visual analogue scale of pain intensity. Nociceptive pain model in healthy volunteers and patients: warmth detection threshold and heat pain threshold. Safety and tolerability in healthy volunteers and patients: any self-reported experiences are recorded. Small neuropsychological tests are performed such as long number recollection and reverse recital of the months of the year. | N/A |  |  | N/A | No results
| JPRN-UMIN000000777 |  | Therapy for intractable deafferentation pain with navigation-guided repetitive transcranial magnetic stimulation | Intractable deafferentation pain | rTMS | rTMS 5Hz 10sec for 50sec interval, 30 times, 90% of resting motor thershold. Three consecutive trials. | Osaka University Medical Hospital | N | 2005-04-01 | 2007-10-01 | Completed | 30 | Japan | Not provided | Non-Randomized, Efficacy Study, Single Arm Assignment, Open Label, Uncontrolled | rTMS: 5Hz 10sec for 50sec interval, 30 times, 90% of resting motor thershold. Three consecutive trials. | Pain relief is analysed for 2 weeks after rTMS using visual analogue scale | No results |  | 6 years | N | No results
| NCT01899170 | 28052013, 2013-002385-39 | Towards Individualized Deep Brain Stimulation Treatment of Chronic Neuropathic Pain | Chronic Neuropathic Pain | TMS: Cervel Neurotech, Clinical Prototype for multi-coil transcranial magnetic stimulation | Non-invasive selective stimulation of deep brain areas | University of Aarhus | N | 2013-09-01 | 2016-08-01 | Active not recruiting | 20 | Denmark | Phase 2 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator, Outcomes Assessor), Sham Controlled | 1) Experimental: Includes all participants (cases and controls). Each subject will undergo both active and sham stimulation (cross-over) and related test/re-test PET imaging with 11C-Carfentanil. Only patients will proceed into deep brain stimulation experiments -> 2) Active comparator: Active deep brain stimulation for the initial three months following surgery. 3) Sham comparator: Inactive deep brain stimulation for the initial three months following implantation. | 1) Pain relief upon deep brain stimulation of the dorsal anterior cingulate cortex - Assessment after 3 and 12 months of active stimulation using numerical rating scale and validated questionnaires. 2) Predictive values of PET imaging and transcranial magnetic stimulation on deep brain stimulation outcome (classified according to PET activity/no-activity and positive/null-negative outcome of transcranial magnetic stimulation) - Assessed upon final evaluation of deep brain stimulation outcome (expected 2 years) | N/A |  |  | N/A | N/A
| NCT00001923 | 990022, 99-N-0022 | Phantom Pain: A Therapeutic Trial Using Transcranial Magnetic Stimulation | Phantom pain | rTMS | Low frequency (1 Hz) TMS applied to posterior parietal cortex (PPC) cortical areas contralateral to the side of the amputated limb | National Institute of Neurological Disorders and Stroke (NINDS) | N | 1998-12-01 | 2002-12-01 | Completed | 20 | United States | Phase 1 | Sham Controlled | 1) Active TMS; 2) Sham TMS | Not provided | No results |  | 11 years | N | No results
| NCT01560039 | TASMS-12-HS-0577-11-TLV-CTIL | Voluntary Modulation of M1 Motor Cortex Activity Using EEG Neurofeedback for the Treatment of Resistant Chronic Neuropathic Pain - a Clinical and fMRI Study | Neuropathic Pain | TMS: Magstim TMS Rapid. (MAGSTIM CO LTD) | TMS applied to M1 | Tel-Aviv Sourasky Medical Center | N | 2012-04-01 | 2013-04-01 | Active not recruiting | 50 | Israel | Not provided | Randomized, Efficacy Study, Parallel Assignment, Single Blind (Subject), Sham and Active Controlled | 1) Active EEG-Neurofeedback: 10 EEG based neurofeedback sessions modulating the activity of the primary motor cortex; 2) Sham comparator: Sham EEG-Neurofeedback: 10 sessions of sham EEG-NF of the motor cortex area; 3) Active comparator: 10 daily TMS stimulation sessions of M1 | Daily pain levels will be assessed using a visual assessment score (VAS) during the treament phase (lasting aproximately 3 weeks) | N/A |  |  | N/A | N/A
| NCT00443469 | #64/2006 | A Randomized Placebo-controlled Trial on the Use of Repetitive Spinal Magnetic Stimulation as a Therapeutic Option in Patients With Intractable Neuropathic Pain of the Lower Limbs | Neuropathic Pain | Spinal magnetic stimulation (delivered with a repetitive magnetic stimulator) | SMS was delivered with a repetitive magnetic stimulator connected to a figure of eight coil capable of delivering a maximum output of 2 Tesla per pulse. The coil was centered over the surface landmark corresponding to the cauda equina region. Each patient on active treatment received 200 trains of 5 pulses delivered at 10 Hz, at an interval of 5 s between each train. | Singapore General Hospital | N | 2006-08-01 | 2010-02-01 | Completed | 20 | Singapore | Phase 3 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver), Placebo Controlled | 1) Experimental: magnetic stimulation; 2) Placebo comparator: magnetic stimulation with tilted coil ('sham' SMS was delivered with the coil angled vertically and one of the wing edges in contact with the stimulation point, as this coil type allows maximum magnetic flux at the center of the intersection) | Subjective pain score measurements at 4 days post-procedure | Peer-reviewed journal article | Pubmed abstract | 4 years | Y | Peer-reviewed journal article | Lo YL et al, 2011. A randomized, placebo-controlled trial of repetitive spinal magnetic stimulation in lumbosacral spondylotic pain. | "All patients tolerated the procedure well and no side effects of SMS were reported. In the treatment arm, SMS had resulted in significant pain reduction immediately and at Day 4 after treatment (P < 0.05). In the placebo arm, however, no significant pain reduction was seen immediately and at Day 4 after SMS. SMS in the treatment arm had resulted in mean pain reduction of 62.3% postprocedure and 17.4% at Day 4. The placebo arm only achieved pain reduction of 6.1% postprocedure and 4.5% at Day 4." | Found by manual search | Pubmed abstract
| NCT00789347 | 200806061R | Analysis of Cortical Excitability in Neuropathic Pain: an Electrophysiology Study | Neuropathic Pain | TMS | Not provided | National Taiwan University Hospital | N | 2008-10-01 | 2011-10-01 | Unknown | 80 | Taiwan | N/A | Observational (Observational Model: Case Control), Cross-Sectional | 1) Healthy volunteers; 2) Patients with neuropathic pain; 3) Patients without neuropathic pain | Abnormal cortical excitability in motor-sensory cross-talk | No results |  | 2 years | N | No results
| NCT01575002 | 2011-p-001902 | Neural Correlates of Pain-related Cognitive Processing in Chronic Pain of the Cornea: an ERP and Electrical Stimulation Study | Corneal Pain, Chronic Pain, Neuropathic Pain | tDCS: 1x1 direct current stimulator (Soterix Medical) | Not provided | Spaulding Rehabilitation Hospital | N | 2012-01-01 | 2014-01-01 | Recruiting | 70 | United States | Phase 1 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | 1) two 20 minute sessions of active tDCS stimulation; 2) two 20 minute sessions of sham tDCS stimulation | Changes in pain scales using VAS and pain threshold using an algometer before and after each stimulation session | N/A |  |  | N/A | N/A
| NCT01599767 | 2011-p-002353 | Spaulding-Harvard Spinal Cord Injury (SH-SCI) Study: Effects of tDCS on Chronic Pain in Spinal Cord Injury | Spinal Cord Injury, Chronic Pain, Neuropathic Pain | tDCS: 1x1 low-intensity direct current stimulator (Soterix Medical) | low intensity tDCS | Spaulding Rehabilitation Hospital | N | 2011-12-01 | 2016-12-01 | Recruiting | 120 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | 3 week stimulation schedule: 1 week of stimulation (5 consecutive days) followed by 2 weeks of stimulation (10 consecutive days), for a total of 15 sessions of tDCS stimulation (1x per day) at 20 minutes per session, of either: 1) active tDCS; 2) sham tDCS | Change in Pain Scale - Measured by changes in the Brief Pain Inventory (BPI) from baseline to follow-up (up to 2 months after the final stimulation session) | N/A |  |  | N/A | N/A
| NCT01795079 | 2012-p-001996 | Boston-Harvard Burn Injury Model System: Cortical Modulation With Transcranial Direct Current Stimulation (tDCS) for Neuropathic Symptoms Following Burn Injury | Burn Injury, Chronic Pain, Pruritus, Itching | tDCS: 1x1 low-intensity direct current stimulator (Soterix Medical) | low intensity tDCS | Spaulding Rehabilitation Hospital | N | 2013-01-01 | 2015-12-01 | Recruiting | 60 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | 3 week stimulation schedule: 2 weeks of stimulation (10 consecutive days) followed by 1 week of stimulation (5 consecutive days), for a total of 15 sessions of tDCS stimulation (1x per day) at 20 minutes per session, of either: 1) active tDCS; 2) sham tDCS | Change in Pain Scale - Measured by changes in the Brief Pain Inventory (BPI) from baseline to follow-up (up to 7 months after the final stimulation session) | N/A |  |  | N/A | N/A
| NCT01842009 | 2013P000384 | Single-arm, Open-label, Phase II Trial of HD-tDCS in Fibromyalgia Patients | Fibromyalgia, Chronic Pain | tDCS: 4x1 low-intensity direct current stimulator | low intensity High Definition tDCS (HD-tDCS) over the primary motor cortex (M1) | Spaulding Rehabilitation Hospital | N | 2013-07-01 | 2014-12-01 | Recruiting | 15 | United States | Phase 2 | Safety/Efficacy Study, Single Group Assignment, Open Label | 20 minutes active anodal HD-tDCS | Mean number of sessions (up to 26) needed to achieve 50% decrease in baseline Visual Analogue Scale (VAS) for pain | N/A |  |  | N/A | N/A
| NCT01404052 | 2010-p-001977 | Effects of Transcranial Direct Current Stimulation and Transcranial Ultrasound on the Perception of Pain Due to Osteoarthritis of the Knee | Chronic Pain, Osteoarthritis | low intensity 1x1 direct current stimulator | tDCS: Electrodes of 35cm^2 and an intensity of 2mA. The anodal electrode will be placed over the primary motor cortex contralateral to the most painful side, and the cathodal electrode will be placed over the contralateral supraorbital area. Transcranial ultrasound: applied in a diagnostic mode | Spaulding Rehabilitation Hospital | N | 2011-01-01 | 2014-01-01 | Recruiting | 30 | United States | Phase 1 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) Experimental: Active tDCS (20 min) + transcranial ultrasound; 2) Sham Comparator: Sham tDCS (30 sec) + transcranial ultrasound | Changes in Visual Analogue Scale (VAS) for pain scale - VAS measured before tDCS, and immediately after the tDCS stimulation sessions for the subject's duration in the trial. VAS will also be measured at baseline, and at three follow-up sessions after tDCS stimulation (up to 2 months after tDCS stimulation) | N/A |  |  | N/A | N/A
| NCT01904097 | 120128 | Study of the Brain With Optic Functional Neuroimaging in Patients With Chronic Pain Using Transcranial Direct Current Stimulation | Fibromyalgia, Chronic Pain | tDCS | 30 min tDCS sessions: low intensity direct current (2 mA), with the anode placed in the dominant motor cortex (M1) and the cathode in the ipsilateral supraorbital region | Hospital de Clinicas de Porto Alegre | N | 2013-03-01 | 2014-07-01 | Recruiting | 34 | Brazil | Phase 2 | Randomized, Efficacy Study, Parallel Assignment, Single Blind (Subject), Sham Controlled | 1) Experimental: Pregabalin + active tDCS: Pregabalin 150 mg PO twice per day (BID) + tDCS five times per week during 2 weeks, and then twice per week until 8th week; 2) Sham Comparator: Pregabalin + sham tDCS: same treatment except device is turned off 30 seconds after initiating stimulation (without letting the patient notice it) | Change in the pressure pain threshold assessed with pressure algometer, Change in cortical excitability parameters assessed by transcranial magnetic stimulation, and Change in motor cortex blood flow assessed by near infrared spectroscopy - Measured a total of four times: before and 1 hour after a single dose of 150 mg of Pregabalin, as well as 2 and 8 weeks after initiating the allocated intervention | N/A |  |  | N/A | N/A
| NCT01112774 | 2010p000190 | Investigation of the Mechanisms of Transcranial Direct Current Stimulation of Motor Cortex for the Treatment of Chronic Pain in Spinal Cord Injury | Spinal Cord Injury | tDCS | Stimulation will be applied at 2 mA over the primary motor cortex area for a total of 20 minutes per session | Spaulding Rehabilitation Hospital | N | 2010-04-01 | 2013-08-01 | Recruiting | 60 | United States | Phase 1 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | 1) tDCS/Spinal cord injury: Subjects will be randomized to receive 10 sessions of either active or sham tDCS, on consecutive days (Mon-Fri). 2) tDCS/Healthy subjects: Subjects will receive 2 sessions of stimulation: one active and one sham tDCS on two separate visits. The order in which they receive the stimulation will be randomized. | Neurophysiological activity changes after treatment with tDCS, measured with Magnetic resonance spectroscopy (MRS), electroencephalogram (EEG), transcranial magnetic stimulation (TMS) at baseline, 2 weeks treatment and follow up (2 weeks). Secondary outcome measures include pain changes using Visual analog scale (VAS) for pain, Analgesic use, Quality of Life Scale (QOLS), Patient Global Assessment (PGA), Clinical Global Impression (CGI) | N/A |  |  | N/A | N/A
| NCT01883245 | Orofacial pain_tDCS | Effects of Transcranial Direct Current Stimulation (tDCS) in Patients With Chronic Orofacial Pain Unresponsive to Conventional Treatment. A Randomized Controlled Trial. | Orofacial Pain | tDCS | tDCS: Electrodes of 35cm^2 and an intensity of 1mA. The anode will be placed on the primary motor cortex (M1) of the dominant hemisphere and the cathode on the contralateral supraorbital area. Continuous stimulation lasting 20 minutes. | University Hospital of Ferrara | N | 2013-05-01 | 2013-10-01 | Recruiting | 30 | Italy | Phase 2 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) real tDCS lasting 20 minutes daily for 5 days; 2) sham tDCS lasting 30 seconds daily for 5 days | Change from baseline in Visual Analogue Scale (VAS) for pain, measured: 1) one day pre-tDCS 5 days treatment; 2) every day, for 5 days pre and post tDCS stimulation; 3) one day post tDCS 5 days treatment; 4) follow up at one month | N/A |  |  | N/A | N/A
| NCT01404065 | 2010-p-001978 | Investigation of the Mechanisms of Transcranial Direct Current Stimulation of Motor Cortex Coupled With Visual Illusion for the Treatment of Chronic Pain in Spinal Cord Injury | Chronic Pain, Spinal Cord Injury | tDCS: low intensity 1x1 direct current stimulator | tDCS: electrodes of 35cm^2, at an intensity of 2mA. For active tDCS, the subject will undergo stimulation for 20 minutes. For sham stimulation, the current will be ramped up and then down again (for 30 seconds total) to simulate the feeling of active stimulation. | Spaulding Rehabilitation Hospital | N | 2010-12-01 | 2013-08-01 | Recruiting | 60 | United States | Phase 1 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) Experimental: Active tDCS + visual illusion: Subjects will receive active tDCS while watching a visual illusion movie (legs walking on a treadmill). 2) Sham Comparator: Sham tDCS + visual illusion. 3) Healthy subjects will receive both interventions (active and sham) in a randomized and counterbalanced order. Each stimulation session will be at least 1 week apart to prevent carry-over effects | Changes in EEG (alpha and beta activity), measured at: baseline, immediately pre- and post- stimulation and at follow-up visits for a total of approximately 6 weeks. | N/A |  |  | N/A | N/A
| NCT01745003 | HUM00041993 | Effects of Direct Transcranial Current Stimulation on Central Neural Pain Processing in Fibromyalgia | Fibromyalgia | tDCS | Not provided | University of Michigan | N | 2012-03-01 | 2013-03-01 | Recruiting | 20 | United States | Phase 1-2 | Single Group Assignment, Open Label | 10 tDCS testing visits | Determine the effects of tDCS on the excitatory neurotransmitter glutamate (Glu) within the insula (posterior and anterior) and thalamus in individuals with FM. Secondary outcome measure: Investigate whether long-term therapy with tDCS normalizes gray matter thickness in target and cortical areas associated with pain perception and modulation in FM (e.g. dorsal lateral prefrontal cortex) | N/A |  |  | N/A | N/A
| NCT01747070 | 110013, U1111-1130-1855 | Effect of Transcranial Direct Current Stimulation and Electro Acupuncture in Pain, Functional Capability and Cortical Excitability in Patients With Osteoarthritis | Osteoarthritis (Knee), Chronic Pain | tDCS | tDCS: current of 2 mA, anode placed in the motor cortex (M1) and cathode in the supraorbital region Electroacupuncture (EAC): electrical stimulation with a frequency of 2 Hz for 30 min in the dermatomes, myotome, or sclerotome corresponding to the nerve roots involved in the knee (L1, L2, L3, L4, L5, S1, and S2). The needles are placed beside the spinous processes of L1 to S2, with a depth of 3 cm and in the muscles: vastus lateralis, rectus anterioris, vastus medialis, tibialis anterior, peroneus longus and insertion of the pes anserinus. | Hospital de Clinicas de Porto Alegre | N | 2012-01-01 | 2014-03-01 | Recruiting | 80 | Brazil | Not provided | Randomized, Efficacy Study, Parallel Assignment, Single Blind (Subject), Sham Controlled | Treatment will be 5 daily sessions: 1) tDCS and EAC sham; 2) tDCS sham and EAC sham; 3) tDCS sham and EAC; 4) tDCS and EAC | Change in the intensity of daily pain, measured by Visual Analog Scale (VAS); and Change in the pressure pain threshold, measured by Threshold Tolerance Test Algometry Pressure - Assessed before treatment, after each session and at the end of treatment | N/A |  |  | N/A | N/A
| NCT01960400 | 12-116 | Investigation of the Efficacy of Transcranial Direct Current Stimulation (tDCS) Added to the Graded Motor Imagery (GMI) in the Treatment of Complex Regional Pain Syndrome (CRPS) Type 1 | Complex Regional Pain Syndrome Type 1 (CRPS) | tDCS | Anodic (positive) stimulation will be over the motor cortex (M1) contralateral of the affected limb | Université de Sherbrooke | N | 2013-04-01 | 2015-05-01 | Recruiting | 28 | Canada | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver, Outcomes Assessor), Sham Controlled | 1) Active Comparator: Graded motor imagery (GMI) + tDCS; 2) Placebo Comparator: GMI + sham tDCS tDCS will be applied for 5 consecutive days during the first 2 weeks of phase 1 and once a week during the 4 other weeks. GMI treatment is composed of a three-phase protocol, each lasting two weeks. | Patient Global Impression of Change, assessed after end of treatment, and at 1 and 3 months follow-up. Secondary outcome measures: Short Form Brief Pain Inventory, Disabilities of the Arm, Shoulder and Hand questionnaire on functional disability, Lower extremity version of the Impairment Sum Score, Impact of pain on health-related quality of life (SF-12) | N/A |  |  | N/A | N/A
| NCT01896453 | tDCSBACKPAIN, USaoPauloGH | Treatment of Chronic Non-specific Low Back Pain With Brain and Peripheral Electrical Stimulation: a Factorial, Randomized Controlled Trial | Chronic Non-specific Low Back Pain | tDCS | tDCS: 20 minutes, 2mA, primary motor cortex anode (contralateral to the lesion) and supraorbital cathode (ipsilateral to the lesion) Transcutaneous electrical nerve stimulation (TENS): 20 minutes, 100Hz, 200µs, 2 channels with electrodes over the low back area of pain | University of Sao Paulo General Hospital | N | 2013-06-01 | 2014-07-01 | Recruiting | 92 | Brazil | Phase 2-3 | Randomized, Efficacy Study, Factorial Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | 1) Experimental: tDCS real + TENS sham; 2) Experimental: tDCS sham + TENS real; 3) Active Comparator: tDCS real + TENS real; 4) Sham Comparator: Sham tDCS + Sham TENS (Active stimulation: 20 min, sham stimulation: 30 sec) | Pain intensity, evaluated by numerical rating scale (0-10) four weeks after randomization | N/A |  |  | N/A | N/A
| NCT01886274 | Migraine_tDCS | Transcranial Direct Current Stimulation in the Visual Cortex of Migraine Patients: Neurophysiological and Clinical Implications | Migraine | tDCS | tDCS to the occipital cortex: constant current of 2 mA intensity applied for 20 min | Universidade Federal de Pernambuco | N | 2012-10-01 | 2013-06-01 | Recruiting | 36 | Brazil | Phase 2 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) Experimental: active tDCS (12 sessions, 3 days per week); 2) Sham Comparator: sham tDCS (12 sessions, 3 days per week); 3) No Intervention: a group of healthy subject was submitted to one evaluation session of cortical excitability | Change from phosphene threshold, measured at baseline and 30 minutes (after tDCS). Secondary outcome measures: Change from eletroencephalography, and Change from pain diary (a report of the frequency of the migraine attacks, the intensity, the onset and duration of the pain, the number of migraine-related days (the number of days on which the patients had migraine-related symptoms) and the type of analgesics in case of a migraine attack) | N/A |  |  | N/A | N/A
| NCT00815932 | SOR477808CTIL | The Effect of Transcranial Direct Current Stimulation (t-DCS) On the P300 Component of Event-Related Potentials in Patients With Chronic Neuropathic Pain Due To Complex Regional Pain Syndrome (CRPS) or Diabetic Neuropathy-A PILOT, DOUBLE-BLIND, SHAM-CONTROLLED, CROSS-OVER STUDY | Diabetic Neuropathies, Complex Regional Pain Syndrome Type II, Resistant Peripheral Neuropathic Pain, Chemotherapy Induced Pain Neuropathy | tDCS | 20 minutes of 2 mA tDCS | Soroka University Medical Center | N | 2013-12-01 | 2015-12-01 | Active not recruiting | 60 | Israel | Not provided | Randomized, Crossover Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) 10 tDCS naïve patients with CRPS-related neuropathic pain in upper limb will receive tDCS/sham procedure on five consecutive days; 2) 20 tDCS naïve patients with diabetic neuropathy will receive tDCS/sham procedure on five consecutive days; 3) 20 tDCS naïve patients with resistant peripheral neuropathic pain will receive tDCS/sham procedure on five consecutive days; 4) 10 tDCS naïve patients with CIPN-Chemotherapy Induced Pain Neuropathy will receive tDCS/sham procedure on five consecutive days | Changes in the amplitude and latency of P300, measured before and 15 min and 120 min after the 1st and 5th tDCS/sham procedure. Secondary outcome measures: Changes in Pain Intensity calculated as the difference in scores on the 11-point numerical pain rating scale (0-10), and Changes in Pain Thresholds for Tactile and Thermal Stimuli calculated as the difference between ratings obtained form pain threshold measurements before and after tDCS | N/A |  |  | N/A | N/A
| NCT01857492 | 2013-P-000033 | tDCS for the Management of Chronic Visceral Pain in Patients With Chronic Pancreatitis | Chronic Pancreatitis, Pain | tDCS: 1x1 low intensity DC Stimulator such as the Soterix Medical Inc. (Model 1224-B) | 35cm^2 saline-soaked electrodes. The anodal electrode will be placed over the left primary motor cortex (M1) while the cathodal electrode will be placed over the contralateral supra-orbital area. During active tDCS, a 2mA constant current will be delivered for 20 minutes while the subject meditates. | Beth Israel Deaconess Medical Center | N | 2013-03-01 | 2014-03-01 | Recruiting | 14 | United States | Not provided | Randomized, Efficacy Study, Single Group Assignment, Double Blind (Subject, Caregiver, Investigator), Sham Controlled | 1) 5 days of active tDCS (20 min simulation) and Kirtan Kriya Meditation; 2) 5 days of sham tDCS (30 sec stimulation) and Kirtan Kriya Meditation | Magnitude of pain reduction using the Visual Analog Scale (VAS) score and Brief Pain Inventory (BPI) | N/A |  |  | N/A | N/A
| NCT01007136 | 082008-053, K23HD050267 | TDCS-enhanced Stroke Recovery and Cortical Reorganization | Ischemic Stroke | tDCS | 1 mA electric current will be delivered over the lesioned motor cortex for 20 minutes | University of Texas Southwestern Medical Center | N | 2009-03-01 | 2014-04-01 | Recruiting | 150 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator, Outcomes Assessor), Sham Controlled | 1) active tDCS and occupational therapy: electric current will be delivered over the lesioned motor cortex for the first 20 minutes during the one hour physical therapy; 2) sham tDCS and occupational therapy: electric current will be ramped up and down over the lesioned motor cortex for the first seconds during the one hour physical therapy | Upper Extremity Fugl-Meyer: 2 weeks, 3 months and 1 year after stroke. Secondary outcome measures include Visual Analog Pain Scale, assessed daily during therapy, 2 weeks, 3 months and 1 year after stroke | N/A |  |  | N/A | N/A
| NCT01861587 | HR18682 | Evaluation of the Effectiveness of tDCS in the Management of Perioperative Pain | Post-Operative Pain | tDCS | Not provided | Medical University of South Carolina | N | 2009-01-01 | 2014-01-01 | Recruiting | 500 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver), Sham Controlled | 1) active tDCS for 20 min; 2) sham tDCS for 20 min | Pain ratings at 20 minutes | N/A |  |  | N/A | N/A
| NCT01849796 | 148-10 | Transcranial Stimulation (tDCS) For the Treatment of Neuropathic Facial Pain | Facial Pain | tDCS (Phoresor II Auto) | Excitatory (anodal) tDCS: main electrode placed over the motor cortex on the hemisphere contralateral to the major source of pain, and second electrode placed on the skin overlying the supraorbital region ipsilateral to the affected area. Inhibitory (cathodal) tDCS: main electrode placed over the somatosensory cortex on the hemisphere contralateral to the major source of pain, and second electrode placed on the skin overlying the supraorbital region ipsilateral to the affected area. The current will be delivered at the intensity of 2mA for 20 minutes | Beth Israel Medical Center | N | 2010-10-01 | 2014-12-01 | Active not recruiting | 40 | United States | Phase 2 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) One block of real excitatory anodal tDCS over the motor cortex and one block of sham; 2) One block of inhibitory cathodal tDCS over the somatosensory cortex and one block of sham (To deliver sham, the current will be delivered for 30 sec only to elicit tingling skin sensation but no cortical excitability changes.) | Primary outcome will be a composite measure "Pain intensity/consumption of pain medication" - Measured daily from Baseline to up to 17 weeks | No results |  |  | N | No results
| NCT01948050 | 038-08 | Pilot Study on Safety and Efficacy of the Non-invasive Transcranial Stimulation (tDCS) to Relieve Neuropathic Pain in Cancer Patients | Pain | tDCS | Repetitive tDCS stimulation, at an intensity of 2 mA | Beth Israel Medical Center | N | 2009-01-01 | 2012-11-01 | Completed | 24 | United States | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) real tDCS stimulation 20 minutes at each session, on five consecutive days; 2) sham tDCS consisting of 30 seconds of tDCS stimulation at 2mp and 19 minutes and 30 seconds of tdcs at 0mp stimulation, on five consecutive days | Pain intensity calculated as the difference in the score on the numerical rating scale 0-10 before and after tDCS stimulation | No results |  | 1 year | N | No results
| NCT00947622 | TDCS_BP_FMS | Occipital Transcranial Direct Current Stimulation in Fibromyalgia | Fibromyalgia | tDCS | Stimulation at the occipital head area for 1800 sec at an intensity of 2 mA | University Hospital, Antwerp | N | 2009-07-01 | 2009-10-01 | Unknown | 35 | Belgium | Phase 1-2 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Caregiver, Investigator), Sham Controlled | 1) sham tDCS: placebo stimulation at the occipital head area for 1800 seconds at 0 mA, 3 times a week, during 1 week (with seconds of stimulation to get onset tingling sensation); 2) active tDCS: effective stimulation at the occipital head area for 1800 seconds at 2 mA, 3 times a week for 1 week | Decrease on Visual Analogue Scale (VAS) score for Fibromyalgia related pain and pain scales of the Fibromyalgia Impact Questionnaire - Measured at baseline, directly after treatment, and 3 weeks after treatment | No results |  | 4 years | N | No results
| NCT01860950 | HR 19773 | Effects of Transcranial Direct Current Stimulation (HD-DCS) on Pain Perception | Pain | tDCS | High-definition tDCS: 20 mA of current for 20 minutes | Medical University of South Carolina | N | 2009-02-01 | 2010-06-01 | Completed | 25 | United States | Not provided | Randomized, Parallel Assignment, Single Blind (Subject), Sham Controlled | 1) active HD-tDCS; 2) sham HD-tDCS | Effects of tDCS on pain perception - Duration of the study visit, approximately 2 hours. Participants will undergo comprehensive laboratory pain assessment including hot and cold, sensory and pain threshold assessment using the Method of Limits with the Pathway Thermo-sensory Analyzer System (Medoc Inc., NC) which is specifically designed for assessing laboratory pain perception. | Peer-reviewed journal article | Pubmed abstract | 3 years | Y | Peer-reviewed journal article | Borckardt JJ et al, 2012. A pilot study of the tolerability and effects of high-definition transcranial direct current stimulation (HD-tDCS) on pain perception. | "Real HD-tDCS was associated with significantly decreased heat and cold sensory thresholds, decreased thermal wind-up pain, and a marginal analgesic effect for cold pain thresholds. No significant effects were observed for mechanical pain thresholds or heat pain thresholds. HD-tDCS appears well tolerated, and produced changes in underlying cortex that are associated with changes in pain perception." | Found by manual search | Pubmed abstract
| NCT01781065 | 11-2008-010 SNUBH | The Analgesic Effect of Transcranial Direct Current Stimulation Over the Primary Motor Cortex on Central Neuropathic Pain Patients With Spinal Cord Injury | Neuropathic Pain, Spinal Cord Injury | tDCS (Iomed Phoresor II Auto) | Anodal stimulation of the primary motor cortex (M1) with anode electrode: C3 (EEG 10/20 system) and cathode electrode: contralateral supraorbital area. Constant current of 2mA intensity for 20 min. | Seoul National University Bundang Hospital | N | 2008-03-01 | 2009-02-01 | Completed | 16 | Republic of Korea | Phase 2 | Non-Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | Stimulation: twice a day with more than 4 hours interval during of 2 weeks (from Monday to Friday, total 20 treatment sessions): 1) active tDCS: anodal stimulation on motor cortex (20 min); 2) sham tDCS (turned off after 10 sec of stimulation) | Numeric rating scale for average pain over the preceding 24 hours - Measured before the first tDCS session, and 1, 2, 4, 6 and 8 weeks after the start of the stimulation | Peer-reviewed journal article | Pubmed abstract | 5 years | Y | Peer-reviewed journal article | Yoon EJ et al, 2013. Transcranial Direct Current Stimulation to Lessen Neuropathic Pain After Spinal Cord Injury: A Mechanistic PET Study. | "There was a significant decrease in the numeric rating scale scores for pain, from 7.6 ± 0.5 at baseline to 5.9 ± 1.8 after active tDCS (P = .016). We found increased metabolism in the medulla and decreased metabolism in the left dorsolateral prefrontal cortex after active tDCS treatment compared with the changes induced by sham tDCS. Additionally, an increase in metabolism after active tDCS was observed in the subgenual anterior cingulate cortex and insula. Conclusion: The results of this study suggest that anodal stimulation of the motor cortex using tDCS can modulate emotional and cognitive components of pain and normalize excessive attention to pain and pain-related information." | Found by manual search | Pubmed abstract
| NCT01261650 | FIBRO 1 | Influence of Transcranial Direct Current Stimulation of the Primary Motor Cortex on Pain Sensation in Patients Suffering From Fibromyalgia Syndrome | Fibromyalgia | tDCS | tDCS of the primary motor cortex | Karl Landsteiner Institute of Remobilization and Functional Health | N | 2010-12-01 | Not provided | Unknown | 50 | Austria | Phase 4 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator, Outcomes Assessor), Sham Controlled | 3 weeks of either: 1) active tDCS; 2) sham tDCS | Visual Analoge Scale: Difference Baseline - after treatment | No results |  | ? | N | No results
| NCT01143636 | 2009-P-002048 | Investigation and Treatment of Central Nervous System Dysfunction in Chronic Pelvic Pain | Pelvic Pain | tDCS | 2 mA for a period of 20 minutes. The anode electrode will be placed on the primary motor cortex of the predominant painful side. | Spaulding Rehabilitation Hospital | N | 2010-04-01 | 2012-12-01 | Active not recruiting | 68 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Investigator, Outcomes Assessor), Sham Controlled | 1) active tDCS: Subjects will receive a total of 20 consecutive sessions of active tDCS over a four-week period (administered every day Monday- Friday); 2) sham tDCS: the same montage will be used, however current will be applied only for 30 seconds; 3) Healthy Subjects tDCS: healthy controls will receive one single session of active and one single session of sham tDCS. There will be a time interval of at least one week in between the randomized stimulation sessions to prevent a carryover affect. | Sensory Test, Pain pressure and mechanical pain measurements | No results |  | 1 year | N | No results
| NCT00521196 | 2007P-000145 | Phase 2 Study of the Effect of Transcranial Direct Current Stimulation (tDCS) on Pain and Headache Frequency in Migraine | Migraine | tDCS: Eldith (NeuroConn GmbH) | 2 mA for a period of 20 minutes. The anode is placed on the motor cortex contralateral to the side where migraines predominant; the cathode is placed near the supraorbital area, opposite the anode. | Beth Israel Deaconess Medical Center | N | 2007-07-01 | 2008-06-01 | Unknown | 24 | United States | Phase 2 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | Subjects will receive a total of 10 sessions of either 1) active tDCS or 2) sham tDCS over a four-week period (administered every other day during weekdays over the course of one month) | Migraine-associated pain (maximum headache intensity), Migraine frequency (# of headache days per month), and Daily average pain | Peer-reviewed journal article | Pubmed abstract | 5 years | Y | Peer-reviewed journal article | Dasilva AF et al, 2012. tDCS-induced analgesia and electrical fields in pain-related neural networks in chronic migraine. | "There was a significant interaction term (time vs group) for the main outcome (pain intensity) and for the length of migraine episodes (ANOVA, P < .05 for both analyses). Post-hoc analysis showed a significant improvement in the follow-up period for the active tDCS group only. [...] Conclusions: Our findings give preliminary evidence that patients with chronic migraine have a positive, but delayed, response to anodal tDCS of the primary motor cortex. These effects may be related to electrical currents induced in pain-related cortical and subcortical regions." | Found by manual search | Pubmed abstract
| NCT00554320 | RP07066 | Effect of Repetitive Transcranial Direct Current Stimulation (tDCS) on Chronic Pelvic Pain | Chronic Pelvic Pain, Interstitial Cystitis, Post Traumatic Stress Disorder, Fibromyalgia, Irritable Bowel Syndrome | tDCS | The anode electrode will be placed on the motor cortex (contralateral to the most [or predominant] painful side [or the side where the symptoms begin or the left as a default]) and the cathode will be placed over the contralateral supraorbital area. 1 mA applied for 30 min. | Summa Health System | N | 2009-01-01 | 2009-06-01 | Completed | 24 | United States | Not provided | Randomized, Efficacy Study, Crossover Assignment, Double Blind (Subject, Caregiver, Investigator, Outcomes Assessor), Sham Controlled | 1) active tDCS: 1 mA applied for 30 minutes; 2) sham tDCS: the same montage will be used, however current will be applied only for 30 seconds | Patient Global Assessment (PGA) and Visual analog scale (VAS) for pain | Peer-reviewed journal article | Pubmed abstract | 4 years | Y | Peer-reviewed journal article | Fenton BW et al, 2009. A preliminary study of transcranial direct current stimulation for the treatment of refractory chronic pelvic pain. | "Overall and pelvic pain scores were significantly lower after active compared with sham treatment, as were disability and traumatic stress scores." | Found by manual search | Pubmed abstract
| NCT01226082 | TASMC-10-SB-411-CTIL | The Effect of Transcranial Direct Current Stimulation for Chronic Pain on Ophthalmologic Parameters | Chronic Pain | tDCS | Not provided | Tel-Aviv Sourasky Medical Center | N | 2010-11-01 | 2011-11-01 | Unknown | 30 | Israel | Not provided | Single Group Assignment, Open Label | Daily sessions of anodal tDCS repeated for 5 consecutive days | Ophtalmologic examination parameters: visual acuity test, eye movement, field of vision, Tonometry (Intraocular Pressure Testing); Secondary outcome measure is pain relief | No results |  | 2 years | N | No results
| NCT02051959 | SHEBA-13-0733-IS-CTIL | Long-Term Treatment of Patients Experiencing Phantom Limb Pain With Transcranial Direct Current Stimulation (tDCS) | Phantom Limb Pain | tDCS (neuroConn DC Stimulator) | 2mA anodal stimulation of M1 for 20 minutes following a 60 minute interval and another 20 minute 2mA anodal stimulation of S1, localized to the area contralateral to amputation | Sheba Medical Center | N | 2014-02-01 | 2014-08-01 | Active not recruiting | 40 | Israel | Phase 2-3 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Caregiver, Investigator, Outcomes Assessor), Sham Controlled | Traumatic amputees: 1) anodal stimulation of M1 + sham stimulation of S1; 2) anodal stimulation of M1 + anodal stimulation of S1; 3) sham stimulation of M1 + sham stimulation of S1; 4) Subjects who do not experience phantom limb pain: anodal stimulation of M1 + sham stimulation of S1 Diabetic amputees: Same 4 treatment arms Stimulation sessions 3 times a week for a 5-week period 5 subjects in each of the 8 treatment arms, for a total of 40 subjects | Reduction of phantom limb pain compared to phantom limb pain before treatment, according to Visual Analog Scales (VAS) evaluation | N/A |  |  | N/A | N/A
| NCT02048137 | EA4/135/13 | Transcranial Direct Current Stimulation to Reduce Chronic Pain in Patients With Chronic Inflammatory Bowel Diseases | Inflammatory Bowel Disease | tDCS | Not provided | Charite University, Berlin, Germany | N | 2014-01-01 | 2014-12-01 | Recruiting | 20 | Germany | Phase 2 | Randomized, Safety/Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | 1) active tDCS; 2) sham tDCS | Pain pressure threshold. Secondary outcome measure is Visual Analogue Scale | N/A |  |  | N/A | N/A
| NCT01402960 | 2010-p-000990 | Exploration of Parameters of tDCS in Chronic Pain Patients | Chronic Pain | tDCS: High Definition Transcranial Direct Current Stimulation (HD-tDCS) | For both active and sham HD-tDCS the electrodes will be placed over the primary motor cortex, at an intensity of 2mA. | Spaulding Rehabilitation Hospital | N | 2011-04-01 | 2012-02-01 | Completed | 18 | United States | Phase 1 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Investigator), Sham Controlled | Each stimulation session will be separated by at least one week to avoid carryover effects. 1) Active Anodal HD-tDCS: one 20-minute session with the anode over the primary motor cortex; 2) Active Cathodal HD-tDCS: one 20-minute session with the cathode over the primary motor cortex; 3) Sham HD-tDCS: the same procedure will be used but current will only be active for 30 seconds (current ramping up, then ramping down) | Changes in the Visual Analogue Scale (VAS) for pain - Measured immediately before the HD-tDCS stimulation sessions and after the HD-tDCS stimulation sessions for each subject for the duration of their participation in the trial. This outcome will also be measured at their baseline visit, and follow-up visit. | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Villamar MF et al, 2013. Focal modulation of the primary motor cortex in fibromyalgia using 4×1-ring high-definition transcranial direct current stimulation (HD-tDCS): immediate and delayed analgesic effects of cathodal and anodal stimulation. | "We found that both active stimulation conditions led to significant reduction in overall perceived pain as compared to sham. This effect occurred immediately after cathodal HD-tDCS and was evident for both anodal and cathodal HD-tDCS 30 minutes after stimulation. Furthermore, active anodal stimulation induced a significant bilateral increase in mechanical detection thresholds. [...] Perspective: 4×1-ring HD-tDCS, a novel noninvasive brain stimulation technique capable of more focal and targeted stimulation, provides significant reduction in overall perceived pain in fibromyalgia patients as compared to sham stimulation, irrespective of current polarity." | Found by manual search | Pubmed abstract
| NCT01220323 | TASMC-10-SB-396-CTIL | Transcranial Direct Current Stimulation for Chronic Pain Relief | Chronic Pain | tDCS | 20 min 2mA tDCS over the M1 | Tel-Aviv Sourasky Medical Center | N | 2010-11-01 | 2011-11-01 | Unknown | 100 | Israel | Not provided | Randomized, Parallel Assignment, Single Blind (Subject), Sham Controlled | 1) Active tDCS: daily sessions of anodal tDCS repeated for 5 consecutive days; 2) Sham tDCS: daily sessions of sham tDCS repeated for 5 consecutive days | Pain relief, measured using visual analog scale (VAS) for pain and the short form McGill questionnaire (SF-MPQ). Evaluations will be performed at baseline, immediately after the end of treatment, and once a week during a 3-week follow-up period. | No results |  | 2 years | N | No results
| NCT01404026 | 2010-p-001209 | Cortical Modulation With Transcranial Direct Current Stimulation (tDCS) for Neuropathic Symptoms Following Burn Injury | Pain, Burn Injury | tDCS: low intensity 1x1 direct current stimulator | tDCS intensity of 2mA. The anodal electrode will be placed over the primary motor cortex, and the cathode will be placed over the contralateral supraorbital area. For active stimulation, the current will be active for the duration of 20 minutes. | Spaulding Rehabilitation Hospital | N | 2011-06-01 | 2012-01-01 | Completed | 3 | United States | Phase 1 | Randomized, Safety/Efficacy Study, Crossover Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) Active tDCS: the current will be active for 20 minutes; 2) Sham tDCS: the current will only be active for 30 seconds, simulating the sensations of active stimulation | Effect of tDCS on pain/itch perception, measured using Visual Analogue Scale for Pain/Itch (VAS). The subject's VAS score will be measured immediately before the tDCS stimulation sessions and after the tDCS stimulation sessions for the duration of their participation in the trial. | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Portilla AS et al, 2013. A feasibility study assessing cortical plasticity in chronic neuropathic pain following burn injury. | "An overall decrease in cortical excitability was seen after active tDCS only, as characterized by a decrease in intracortical facilitation and amplitude of motor evoked potentials and an increase in intracortical inhibition. Clinical outcomes did not change after a single session of tDCS. Results are consistent with previous studies showing that patients with chronic neuropathic pain have defective intracortical inhibition. This case series shows early evidence that chronic pain following burn injury may share similar central neural mechanisms, which could be modulated using tDCS." | Found by manual search | Pubmed abstract
| NCT01598181 | 2010/2256/REK n, UNorthNorway | Transcranial Direct Current Stimulation (tDCS) as Treatment Method for Pain in Fibromyalgia | Fibromyalgia | tDCS: DCS NeuroConn DC-stimulator plus (model: 0021, serial no: 0337) | Anodal tDCS, M1, cathode supraorbital left, 2 mA, 20 min | University Hospital of North Norway | N | 2011-12-01 | 2013-06-01 | Active not recruiting | 70 | Norway | Not provided | Randomized, Efficacy Study, Crossover Assignment, Double Blind (Subject, Caregiver, Investigator), Sham Controlled | 1) Active tDCS for 20 minutes on 5 consecutive days; 2) Sham tDCS: similar montage and time as active, but stimulation fades out after 20 seconds | Pain (intensity and unpleasentness) measured with Visual Analog Scale. Reported at 3 points daily (0900hrs, 1500hrs, 2100hrs) using Short Message System (SMS) 14 days pre-treatment (baseline), during 5 treatment days, and 30 days post-treatment. Measure effect of active/sham tDCS on pain. 7 repeated measures: pre-treatment, day 1, day 2, day 3, day 4, day 5, and post-treatment). SMS messages contain 4 questions, measuring pain intensity/pain unpleasentness (primary outcome), and stress/activation (secondary outcome). | No results |  | <1 year | N | No results
| NCT01875029 | Low Back Pain_tDCS | The Effects of Transcranial Direct Current Stimulation (tDCS)Combined With Back School in Subjects With Chronic Low Back Pain. Randomised Control Trial Study | Low Back Pain, Chronic Pain | tDCS | The anode will be placed on the primary motor cortex (M1) of the dominant hemisphere and the cathode on the contralateral supraorbital area. Continuous stimulation lasting 20 minutes, with an intensity of 1 mA | University Hospital of Ferrara | N | 2012-01-01 | 2013-11-01 | Completed | 45 | Italy | Phase 2 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Outcomes Assessor), Sham Controlled | 1) Real-tDCS + Back School: Continuous stimulation lasting 20 minutes daily, for 5 days before back school beginning. The back school session, a behavioural intervention, will be given 10 times for 4 weeks. 2) Sham-tDCS + Back School: Continuous stimulation lasting 30 seconds + back school, given 10 times for 4 weeks | Change from baseline in Visual Analogue Scale (VAS) for pain, measured: 1) One day pre-tDCS treatment. 2) Every day, for 5 days pre and post 20 minutes of tDCS stimulation. 3) One day post tDCS treatment. 4) One day post 10 sessions of back school. 5) Follow up at one month from the end of back school. | No results |  | <1 year | N | No results
| NCT01752439 | tDCSCMMOH1 | Randomized Double-Blind Sham-Controlled Study of the Effects of Transcranial Direct Current Stimulation in Refractory Chronic Migraine and Medication-overuse Headache Patients | Chronic Migraine, Medication Overuse Headache | tDCS: HDCstim, Newronika s.r.l. (Milan, Italy) | tDCS of the primary motor cortex (M1) | Dr Armando Perrotta, MD, PhD | N | 2013-02-01 | 2013-12-01 | Active not recruiting | 30 | Not provided | Not provided | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Sham Controlled | 1) Anodal tDCS; 2) Sham tDCS; 3) Control group: no intervention | Change in headache days per months and Change in drugs intake per months, measured at 30, 60 and 90 days after the treatment | N/A |  |  | N/A | N/A
| NCT01358279 | 2009-4615-A | Transcranial Direct Current Stimulation for Migraine Attack | Acute Migraine | tDCS | Constant current of 2 mA intensity applied for 20 min over C3 or C4 | Seoul National University Hospital | N | 2009-01-01 | 2009-10-01 | Completed | 32 | Republic of Korea | Not provided | Safety/Efficacy Study, Single Group Assignment, Open Label | Constant current of 2 mA intensity applied for 20 min over C3 or C4 | Number of participants who experienced pain relief of one level or more at 2h post-treatment | No results |  | 4 years | N | No results
| NCT01883310 | TOCT_MS_cerebellar tDCS | The Effects of a Task-oriented Circuit Training Combined With Cerebellar Transcranial Direct Current Stimulation on Locomotor Function, Balance and Mobility in Multiple Sclerosis Subjects | Multiple Sclerosis | tDCS | Continuous stimulation with intensity of 2 mA during the first 15 minutes of functional circuit training. The anodal electrode will be centered on the right cerebellar cortex, 3 cm lateral to the inion, and the cathodal electrode will be positioned on the right buccinator muscle. | University Hospital of Ferrara | N | 2013-05-01 | 2014-09-01 | Terminated | 40 | Italy | Phase 2 | Randomized, Efficacy Study, Parallel Assignment, Double Blind (Subject, Investigator), Controlled | Each subject will receive 10 task-oriented training sessions over 2 weeks (5 sessions/week). 1) Experimental: Task Oriented Circuit Training (TOCT) + anodal cerebellar tDCS (applied for 15 min); 2) Control: TOCT + sham tDCS over the cerebellum (applied for 30 s and then shut off) | Change from baseline on locomotor function, mobility and balance in multiple sclerosis subjects with gait speed. Secondary outcome measures include Quality of Life (Short Form (36) Health Survey). | No results |  |  | N | No results
| ISRCTN56839387 | UoL000869 RG030/12 | Evaluation of a mobile transcranial direct current stimulation device in chronic pain: a randomised controlled trial | Neuropathic Pain | tDCS | tDCS applied to the contralateral motor cortex. Active stimulations: anodal and cathodal 1.4 mA over 25 cm x 25 cm area for 20 min a day for 5 days each | University of Liverpool (UK) | N | 2012-09-01 | 2014-05-01 | Recruiting | 24 | United Kingdom | Not provided | Randomized, Double Crossover Assignment, Sham Controlled | 1) active stimulation (anodal) 20 min a day; 2) reverse active stimulation (cathodal) 20 min a day; 3) sham stimulation (current ramp for 30 seconds and then current off for the remaining 19.5 min). All patients will receive all three treatments over three different sessions in a random order. Each treatment session will last four weeks with a total of 12 weeks duration. | Change in mean pain score as measured on a 0-10 point pain scale rating at baseline, and for two weeks starting on the first day of each treatment. | N/A |  |  | N/A | N/A
| ACTRN12614000091606 |  | An investigation of non-invasive brain and spinal cord stimulation versus brain stimulation (with sham spinal cord stimulation), and spinal cord stimulation (with sham brain stimulation) in people with chronic tension-type headache to evaluate feasibility, safety and effect on chronic tension type headache intensity, frequency and duration | Chronic tension-type headache | tDCS | tsDCS (transspinal direct current stimulation): The active electrode (anode) will be positioned over the thoracic spinal cord at the tenth thoracic vertebra and the reference electrode (cathode) above the right shoulder. tDCS: The active electrode (anode) will be placed over the primary motor cortex and the reference electrode (cathode) over the contralateral supraorbital region. For both tsDCS and tDCS: Current intensity will be ramped up (0 mA to 1 mA) and down (1 mA to 0 mA) over 10 s at the beginning and end of the stimulation period. | Individual: Dr Siobhan Schabrun | N | 2014-03-01 | Not provided | Active not recruiting | 30 | Australia | Not provided | Randomized, Safety/Efficacy Study, Parallel Assignment, Blinded, Active Controlled | 1) 30 minutes of combined active tDCS and active tsDCS for five consecutive daily sessions; 2) 30 minutes of combined active tsDCS and sham tDCS for five consecutive daily sessions; 3) 30 minutes of combined sham tsDCS and active tDCS for five consecutive daily sessions | 1) Perceived response to therapy will be assessed using a 7 point Likert scale ranging from completely recovered to vastly worsened (Global Perceived Effect Scale (GPES)) - Assessed at baseline and immediately following the 5-treatment intervention. 2) Headache intensity, frequency, duration and use of analgesics: Headache intensity will be recorded on a 10 cm visual analogue scale (VAS), headache duration as hours per day, frequency as the number of days with headache per month, and use of analgesics as the number of doses - Assessed immediately before treatment and immediately after treatment over a 4-week period using responses to a daily, automated SMS system. 3) Safety and adverse events | N/A |  |  | N/A | N/A
| ACTRN12613001320741 |  | An investigation of exercise in conjunction with non-invasive brain stimulation versus exercise with sham brain stimulation in people with knee osteoarthritis to evaluate i) the feasibility, safety, and perceived participant response to a combined exercise and brain stimulation treatment and ii) effects on pain/disability and pain system function | Knee Osteoarthritis | tDCS | 20 minutes of active transcranial direct current stimulation (tDCS) immediately prior to exercise therapy 2 x per week for 8 weeks. The active electrode (anode) will be placed over the primary motor cortex and the reference electrode (cathode) over the contralateral supraorbital region. Current intensity will be ramped up (0 mA to 1 mA) and down (1 mA to 0 mA) over 10 s at the beginning and end of the stimulation period. For the remainder of the 20 minute treatment, current intensity will be consistent at 1mA. | Individual: Dr Siobhan Schabrun | N | 2014-02-01 | 2014-10-01 | Active not recruiting | 20 | Australia | Not provided | Randomized, Safety/Efficacy Study, Parallel Assignment, Blinded, Sham Controlled | 1) 20 minutes of active tDCS immediately prior to exercise therapy 2 x per week for 8 weeks; 2) 20 minutes of sham tDCS (delivered with electrodes placed in an identical position to that used for active tDCS. The current will be ramped up over 10 seconds (0 mA to 1 mA) and then ramped down (1mA to 0mA) over a further 10 seconds before being switched off) immediately prior to exercise therapy 2 x per week for 8 weeks | 1) Knee pain will be measured using a 100 mm visual analogue scale (VAS) with pain on walking over the past week self-assessed, immediately before and immediately after the 8-week intervention. 2) Knee function will be assessed using the function subscale of the Western Ontario and McMaster Universities (WOMAC) Osteoarthritis Index (Likert version 3.1), immediately before and immediately after the 8-week intervention. | N/A |  |  | N/A | N/A
| ACTRN12613001232729 |  | The effect of transcranial direct current stimulation and transcutaneous electrical nerve stimulation on improving pain intensity, physical functioning, mental health and quality of life in a chronic pain population awaiting pain clinic intervention | Chronic musculoskeletal pain | tDCS: Chattanooga Ionto (Tennessee, USA) Transcutaneous electrical nerve stimulation: Comffit T-20 | tDCS: 2mA for 30min applied over the dominant motor cortex. Transcutaneous electrical nerve stimulation: 10Hz, non-noxious intensity for 30min applied over the bodily site of pain. | Bond University | N | 2013-11-01 | Not provided | Active not recruiting | 80 | Australia | Phase 3 | Randomized, Safety/Efficacy Study, Factorial Assignment, Blinded, Placebo Controlled | tDCS and transcutaneous electrical nerve stimulation are applied simultaneously during each of the 5 consecutive daily sessions: 1) active tDCS and active transcutaneous electrical nerve stimulation; 2) active tDCS and sham transcutaneous electrical nerve stimulation; 3) active transcutaneous electrical nerve stimulation and sham tDCS; 4) sham tDCS and and sham transcutaneous electrical nerve stimulation | Pain visual analogue scale - Measured before and after intervention session 1, after intervention session 5 and 4 weeks after intervention session 5. | N/A |  |  | N/A | N/A
| DRKS00005296 | 2012-A00721-42, TDCSEP | Effects of tDCS and tRNS on attention and pain in multiple sclerosis | Multiple sclerosis | tDCS | tDCS: current strength 2 mA, 20 min, anode dorsolateral prefrontal cortex left and cathode supraorbital right. transcranial random noise stimulation (tRNS): current strength 2 mA, offset 1 mA, frequency 0-640 Hz, 20 min, anode dorsolateral prefrontal cortex left and cathode supraorbital right. | Association ANTALGO Centre Hospitalier Nemours | N | 2013-09-01 | Not provided | Recruiting | 20 | France | Not provided | Randomized, Crossover Assignment, Blinded, Placebo and Active Controlled | 1) active tDCS; 2) sham tDCS (current strength 0 mA); 3) tRNS Patients receive stimulation for 20 min on 3 consecutive days in randomized order, with a two week interval between the conditions. | At completion of the study after 9 weeks: 1) Change in failure rate in the attention network test. 2) Pain related evoked potentials in the EEG after active tDCS and tRNS compared to sham stimulation. Secondary outcome measures: 1) Depression rating in the Hospital Anxiety ans Depression Scale (HADS) and the Modified Fatigue Impact Scale (MFIS). 2) Pain perception in the Brief Pain Inventory (BPI) after active tDCS and tRNS compared to sham stimulation. | N/A |  |  | N/A | N/A
| ACTRN12613000995774 |  | The effect of transcranial direct current stimulation on sensitivity to experimental pain in healthy adults | Experimental pain | tDCS: Chattanooga Ionto (Tennessee, USA) | 2 mA current for 30 min, applied over the dominant motor cortex | Bond University | N | 2013-09-01 | Not provided | Recruiting | 46 | Australia | Not provided | Randomized, Safety/Efficacy Study, Parallel Assignment, Blinded, Placebo Controlled | 5 consecutive daily sessions (1 session/treatment day) of either: 1) active tDCS; 2) sham tDCS (device is turned off slowly, out of the subject’s field of view, after 30 seconds of 2mA tDCS) | 1) Sensitivity to electrical body pain stimuli (electrical detection and pain detection thresholds in mA). 2) Sensitivitiy to pressure body pain stimuli (pain detection threshold in kPa). 3) Sensitivity to thermal body pain stimuli (pain detection threshold and pain tolerance threshold in degrees celcius) - Measured before and after intervention session 1, after intervention session 5, and 4 weeks after intervention session 5 | N/A |  |  | N/A | N/A
| ACTRN12612001155886 |  | Investigating the role of transcranial direct current stimulation for pain relief in fibromyalgia and myalgic encephalomyelitis/chronic fatigue syndrome patients | Fibromyalgia, Myalgic Encephalomyelitis/Chronic Fatigue Syndrome | tDCS | 0.8 mA current for 20 minutes | Deakin University | N | 2012-11-01 | Not provided | Active not recruiting | 32 | Australia | Not provided | Randomized, Double Blind, Sham Controlled | 1) active tDCS daily for 15 consecutive days (not including weekends). Current will be gradually switched on and off over a 30 sec period (ramped) at the start and end of the stimulation period. 2) sham tDCS daily for 15 consecutive days (not including weekends). Current will be ramped on and then the tDCS machine will switch itself off after 30 secs (though the display will remain the same to allow for double-blinding). | 1) Pain assessed by visual analog scale and the McGill Pain Questionnaire. 2) Transcranial magnetic stimulation - 5 pulses (intensity determined by individual's motor threshold) will be applied to M1 in order to determine changes in neural excitation/inhibition from tDCS - Assessed 2 weeks prior through to 3 months post intervention | N/A |  |  | N/A | N/A
| ISRCTN89874874 |  | Effectiveness of anodal transcranial direct current stimulation (tDCS) in patients with chronic low back pain: a randomised controlled trial | Chronic low back pain | tDCS | Anodal 2 mA current for 20 minutes | University Medical Center Hamburg-Eppendorf (Germany) | N | 2011-02-01 | 2012-08-01 | Completed | 135 | Germany | Not provided | Randomized, Double Blind, Sham Controlled | 1) active tDCS: 20 minutes on 5 consecutive days; 2) sham tDCS: 20 minutes on 5 consecutive days Both groups will then receive a 4 week group cognitive-behavioural therapy (CBT) program | 1) Pain, measured using the Visual Analogue Scale (VAS) score (0 = no pain, 100 = unbearable pain). 2) Disability, measured using the Oswestry Disability Index - Measurements at baseline, after tDCS period, after CBT, at 4 weeks, 12 weeks and 24 weeks post CBT | No results |  | <1 year | N | No results
| ACTRN12609000071224 |  | Treatment of neuropathic pain following spinal cord injury using transcranial direct current stimulation | Neuropathic spinal cord injury pain | tDCS | Anodal and cathodal tDCS of primary motor cortex, constant current intensity of 2 mA for 20 minutes. The anode electrode will be placed over C3 or C4 (using EEG 10/20 system) and the cathode electrode over the contralateral supraorbital area. | Individual: Associate Prof Philip Siddall | N | 2010-07-01 | Not provided | Completed | 25 | Australia | Not provided | Randomized, Crossover Assignment, Sham Controlled | 1) Anodal and cathodal tDCS delivered for 20 minutes administered daily during 2 x 5 day periods separated by 4 weeks without treatment; 2) sham tDCS delivered for 30 seconds, using electrodes placed in the same positions as for active stimulation and then discontinued for the remainder of the 20 minute treatment session. All subjects will receive both real and sham stimulation, each comprising 5 daily sessions with a "washout" period of 4 weeks between them. | Pain severity as assessed by administration of the International Spinal Cord Injury Basic Pain Dataset and/or Neuropathic Pain Scale - Measured at baseline, prior to and after each period of intervention, days 1-5 of each treatment week and at 10 weeks and 6 months after intervention commencement | Peer-reviewed journal article | Pubmed abstract | ? | Y | Peer-reviewed journal article | Wrigley PJ et al, 2013. Longstanding neuropathic pain after spinal cord injury is refractory to transcranial direct current stimulation: a randomized controlled trial. | "We found that, contrary to previous reports, after 5 tDCS treatment periods, mean pain intensity and unpleasantness rating were not significantly different from initial assessment. That is, in this trial tDCS did not provide any pain relief in subjects with neuropathic SCI pain (n=10). A similar lack of effect was also seen after sham treatment. Because the injury duration in this study was significantly greater than that of previous investigations, it is possible that tDCS is an effective analgesic only in individuals with relatively recent injuries and pain. Future investigations comparing a range of injury durations are required if we are to determine whether this is indeed the case." | Found by manual search | Pubmed abstract
| NCT01012635 | 36127-B, 1R21HD058049-01A2 | Cortical Modulation of Chronic Pain | Spinal Cord Injury | tDCS | Two different levels of tDCS - Direct stimulation of the brain by using a weak electrical current. | University of Washington | N | 2009-12-01 | 2011-12-01 | Completed | 36 | United States | N/A | Observational (Observational Model: Cohort), Prospective | 1) Hypnosis; 2) Meditation; 3) Neurofeedback training; 4) Two different levels of tDCS | Current pain intensity after each study procedure, assessed using a 0 - 10 Numerical Rating Scale during the EEG (electroencephalogram) assessment after each intervention -Ratings of current and of average, worst, and least pain intensity "during the past five minutes" will be obtained every 5 min during each of the EEG assessments. | Peer-reviewed journal article | Pubmed abstract | 2 years | Y | Peer-reviewed journal article | Jensen M et al, 2013. Effects of non-pharmacological pain treatments on brain states. | "Each procedure was associated with a different pattern of changes in brain activity, and all active procedures were significantly different from the control procedure in at least three bandwidths. Very weak and mostly non-significant associations were found between changes in EEG-assessed brain activity and pain. Conclusions: Different non-pharmacological pain treatments have distinctive effects on brain oscillation patterns. However, changes in EEG-assessed brain oscillations are not significantly associated with changes in pain, and therefore such changes do not appear useful for explaining the benefits of these treatments." | Found by manual search | Pubmed abstract
Note on L3: Faustine Dufka: Not yet open for recruitment
Note on L8: Faustine Dufka: Not yet open for recruitment
Note on L12: Faustine Dufka: Not yet open for recruitment
Note on L13: Faustine Dufka: Withdrawn prior to enrollment.
Note on L16: Faustine Dufka: Enrolling by invitation only
Note on L33: Faustine Dufka: Enrolling by invitation (outpatients are not recruited publicly)
Note on L36: Faustine Dufka: Withdrawn prior to subject enrollment
Note on L42: Faustine Dufka: Not yet open for participant recruitment.
Note on L44: Faustine Dufka: Not yet open for participant recruitment
Note on G54: Faustine Dufka: Unclear whether stimulation is 1 mA or 2 mA. Inconsistent throughout registry trial record.
Note on L61: Faustine Dufka: Not yet open for participant recruitment.
Note on L75: Faustine Dufka: Not yet open for participant recruitment.
Note on L82: Faustine Dufka: Enrolling participants by invitation only.
Note on L84: Faustine Dufka: This study has suspended participant recruitment.
Note on L86: Faustine Dufka: Not yet open for participant recruitment.
Note on L87: Faustine Dufka: Not yet open for participant recruitment.
Note on L88: Faustine Dufka: Not yet open for participant recruitment.
Note on L91: Faustine Dufka: Not yet recruiting